Web-Based 3D Interactive Virtual Systems for Research Instruments (AquaFlux and Epsilon)

School of Engineering

A thesis submitted in partial fulfilment of the requirements of London South Bank University for the degree of Doctor of Philosophy

Omar Al Hashimi

Supervisor:

Dr Perry Xiao

September 2019

Dedication

To my parents

Laith and Bushra

And

To my wife

Camila

For their patience and continuous support.

This humble work is a representation of my love to you!

Contents

List of Figures	V

Acknowledgement	VIII

Abstract	IX

Chapter 1 Introduction	1

1.1 Research background	1

1.2 AquaFlux and Epsilon	2

1.3 Skin histology	2

1.3.1 Skin functions	3

1.4 Skin hydration and Trans-Epidermal Water Loss	3

1.5 The World of 3D Technology	5

1.5.1 The world of 3D and virtualisation	5

1.6 Research questions	7

1.7 Conceptual framework	8

1.8 A statement of the problem	10

1.9 Research methodology	11

1.9.1 Research experiment	13

1.10 Project planning	14

1.11 Ethical issues	14

1.12 Original contributions to knowledge	15

1.13 Limitations of the study	16

1.14 Organisation of the thesis	16

1.15 Summary	17

Chapter 2 Review of Virtual Environments and 3D Technologies	18

2.1 Trends in 3D and VR technologies overview	18

2.2 VR and E-learning in-depth overview	23

2.3 Review of 3D modelling software	29

2.4 3D Enabling Technologies	35

2.4.1 Augmented Reality (AR)	35

2.4.2 MOOCs	37

2.4.3 3D Hologram and Holography	37

2.4.4 Virtual Reality Modelling Language (VRML)	38

2.4.5 Extensible 3D (X3D)	38

2.4.6 Open Graphics Library (OpenGL)	39

2.5 Reasons to Select 3ds Max and Adobe Flash CS6	40

2.6 Summary	42

Chapter 3 AquaFlux and Epsilon Measurement Instruments	43

3.1 Skin measurement instruments overview:	43

3.1.1 AquaFlux	43

3.1.2 Epsilon	46

3.2 AquaFlux and Epsilon applications	50

3.2.1 AquaFlux applications	50

3.2.2 Epsilon applications	51

3.3 Summary	52

Chapter 4 3D Modelling of AquaFlux and Epsilon	53

4.1 3D modelling of AquaFlux and Epsilon	53

4.1.1 Modelling AquaFlux and Epsilon using 3ds Max	54

4.1.2 Adding links and interactivity to AquaFlux and Epsilon using Adobe Flash CS6	62

4.2 How Virtual Reality (VR) is created	69

4.2.1 AquaFlux and Epsilon 360-Degree VR video creation	72

4.3 Obstacles and difficulties faced during the work	84

4.4 Summary	89

Chapter 5 AquaFlux and Epsilon VUM Systems	90

5.1 AquaFlux Interactive Virtual User Manual System	90

5.2 Epsilon Interactive Virtual User Manual System	102

5.3 AquaFlux and Epsilon VUM usability study results and analysis	111

5.4 Comparability study of the actual devices vs AquaFlux and Epsilon VUM systems	116

5.5 Summary	118

Chapter 6 AquaFlux and Epsilon New Hardware and Futuristic Designs	119

6.1 Modelling of the new hardware of AquaFlux and Epsilon VUM	119

6.2 Epsilon new holder and futuristic design in operation	122

6.3 AquaFlux new holder and futuristic design in operation	128

6.4 Summary	138

Chapter 7 Conclusions and Future Work	139

7.1 Summary	139

7.1.1 The need of research	141

7.1.2 The challenge of research	142

7.1.3 The research solution	142

7.1.4 The research methodology	143

7.2 Future Work	145

References	146

# List of Figures

Chapter 1

Figure 1.1 Structure of Human skin from Wikipedia (2008)	3

Figure 1. 2 Calculated Water profile a cross human skin	4

Figure 1. 3 Concentration of water in stratum corneum in equilibrium with air at 30 ºC as a function of relative humidity	5

Figure 1. 4 Differences between 2D and 3D objects	6

Figure 1. 5 Gantt chart of the AquaFlux and Epsilon VUM systems	14

Chapter 2

Figure 2.1 The categories of the application area of 3DVWs in the healthcare sector (Ghanbarzadeh 2014).	22

Figure 2.2 Home Automation control flow chart, software hierarchy of the meta-verse client, the meta-verse server, and the home server (Han 2013)	25

Figure 2.3 Graphic User Interface of the virtual world in the meta-verse client (Han 2013)	26

Figure 2.4 Typical Frame-makers a Hamming Code (left) and Vuforia (right) (Palmer 2015)	27

Figure 2.5 SmartScan scene where the echoing plain, LV volume, and semi-transparent heart are visible (Palmer 2015)	28

Figure 2.6 Office equipment 3D models designed in 3ds Max (CGtrader 2016)	30

Figure 2.7 3D building of a campus model perspective designed in 3ds Max (Duan 2019)	31

Figure 2.8 Web page prepared for the course in Mechatronics (Yilmaz 2011)	34

Figure 2. 9 Running example of AR (R) and Sift feature visualisation (L) (Bhadra 2016)	36

Chapter 3

Figure 3.1 AquaFlux (Xu 2015)	43

Figure 3.2 AquaFlux and its components in a rugged aluminium case	44

Figure 3.3 Typical screenshot of a TEWL measurement taken in AquaFlux	45

Figure 3.4 Excel document showing TEWL measurements recorded in a file	45

Figure 3.5 Epsilon (Parking stand left, Epsilon instrument parked on it right) (Epsilon manual 2013)	46

Figure 3.6 Epsilon is supplied in a sturdy plastic case (Epsilon manual 2013)	46

Figure 3.7 Epsilon in-vitro stand is supplied in a sturdy plastic case (Epsilon manual 2013)	47

Figure 3.8 Epsilon standard in-vitro accessorise (Epsilon manual 2013)	47

Figure 3.9 Typical screenshot of Epsilon’s measurement (Epsilon manual 2013)	49

Chapter 4

Figure 4. 1 (L) AquaFlux probe measured by a ruler, (R) Epsilon Probe compared to a human hand	54

Figure 4. 2 AquaFlux probe in 3ds Max software showing the Modelling options on the right side	55

Figure 4. 3 Few rudimentary screenshots for AquaFlux instrument	55

Figure 4. 4 Different viewports screenshots for AquaFlux instrument during the modelling process	56

Figure 4. 5 A few rudimentary screenshots for Epsilon instrument	56

Figure 4. 6 Epsilon original picture compared to the basic Epsilon model	57

Figure 4. 7 A few more rudimentary screenshots during the modelling process	57

Figure 4. 8 Materials menu box for AquaFlux (adding materials)	58

Figure 4. 9 Materials menu box in 3ds Max (L) and Materials added to the probe (R)	58

Figure 4. 10 Using the curve editor in 3ds Max	59

Figure 4. 11 Shows the red line which indicates adding a keyframe for animation	60

Figure 4. 12 Adding a keyframe for animating AquaFlux	60

Figure 4. 13 Rendering menu box, rendering png image sequence for AquaFlux	61

Figure 4. 14 Rendering every square pixel of Epsilon protective case	61

Figure 4. 15 Rendering window after all keyframing and file setup is completed	62

Figure 4. 16 Importing png image sequences into a new Flash scene frame by frame	64

Figure 4. 17 Adjusting image sequence frame by frame for AquaFlux	64

Figure 4. 18 Adding ActionScript into a scene	65

Figure 4. 19 Adding ActionScript into a scene for the action STOP	65

Figure 4. 20 Adding voice recorded in mp3 format into a scene Epsilon	66

Figure 4. 21 Syncing a voice clip with the illustrative text in Epsilon scene	66

Figure 4. 22 Creating a new symbol for the voice clip in Epsilon scene	67

Figure 4. 23 Syncing the voice clip with the text frame in the Epsilon scene	67

Figure 4. 24 Sample of ActionScript code for linking the button to play, replay and stop the voice clip	68

Figure 4. 25 Exporting SWF and HTML files from Adobe Flash CS6	68

Figure 4. 26 The animation process of AquaFlux for the 360-Degree VR video using 3ds Max software	73

Figure 4. 27 The animation process of Epsilon for the 360-Degree VR video using 3ds Max software	73

Figure 4. 28 Using the curve editor for cleaning the animation of AquaFlux in 3ds Max software	74

Figure 4. 29 Using the curve editor for cleaning the animation of Epsilon in 3ds Max software	74

Figure 4. 30 Using the material editor box for AquaFlux 360-degree VR in 3ds Max software	75

Figure 4. 31 Using the material editor box for Epsilon 360-degree VR in 3ds Max software	75

Figure 4. 32 Using the material option box in 3ds Max software	76

Figure 4. 33 Different type of light and light effects in 3ds Max	77

Figure 4. 34 Applying VRay light for AquaFlux in 3ds Max	79

Figure 4. 35 Applying VRay light setting for Epsilon in 3ds Max	79

Figure 4. 36 Camera setting for AquaFlux 360 degree video in 3ds Max	80

Figure 4. 37 Camera setting for AquaFlux 360 degree video in 3ds Max	80

Figure 4. 38 Camera setting for Epsilon 360 degree video in 3ds Max	81

Figure 4. 39 Rendered file saved for AquaFlux 360 degree video in 3ds Max	82

Figure 4. 40 Rendered settings of AquaFlux 360 degree video in 3ds Max	82

Figure 4. 41 Rendered settings of Epsilon 360 degree video in 3ds Max	83

Figure 4. 42 The progress of the rendering of AquaFlux 360 degree video in 3ds Max	83

Figure 4. 43 The JavaScript file downloaded to be attached: as a script with the 360-degree video	84

Figure 4. 44 Shows wrong vertices during the modelling process of Epsilon in 3ds Max	85

Figure 4. 45 Camera route is being rectified and checked during the modelling process in 3ds Max	85

Figure 4. 46  Monitoring the RAM and CPU usage during rendering in 3ds Max	86

Figure 4. 47 Saving the updated version of the working file	86

Figure 4. 48 Adobe Flash Player security settings on the Macromedia website	88

Chapter 5

Figure 5. 1 The main AquaFlux interactive user manual website contains three buttons (links)	90

Figure 5. 2 The two modes screen presented in two navigational buttons (yellow colour) for AquaFlux instrument. Left button for 360-Degree VR video, Right button for 3D animation mode	91

Figure 5. 3 Shows AquaFlux seated in its base, waiting for a user to click on the interactive probe	91

Figure 5. 4 AquaFlux in action, moving from its base into a patient forearm for a sample measurement	92

Figure 5. 5 The monitor shows measurement results, with other links and user’s options	92

Figure 5. 6 The AquaFlux 360-degree VR video in action	93

Figure 5. 7 The AquaFlux 360-degree VR video in a different angle while conducting measurement	93

Figure 5. 8 The AquaFlux probe back in its base after conducting a measurement, reading of the measurement in the background is displayed on the clinic's monitor	94

Figure 5. 9 The AquaFlux 360-degree VR video in action from a different angle	94

Figure 5. 10 The AquaFlux 360-degree VR video in action from a different angle	95

Figure 5. 11 The AquaFlux 360-degree VR video in action from a different angle	95

Figure 5. 12 The 2nd option (link) on the main page to view the VUM (Virtual User Manual)	96

Figure 5. 13 AquaFlux components illustrated in the protective case	96

Figure 5. 14 Clicking on the VUM menu, other links and background becomes blurry	97

Figure 5. 15 Clicking on one of the options in the VUM menu (probe)	97

Figure 5. 16 After clicking on the 3rd button of AquaFlux VUM system. Three main buttons appear (AquaFlux new holder, AquaFlux Futuristic design, and AquaFlux futuristic design 2)	98

Figure 5. 17 After clicking on AquaFlux new holder navigational button	99

Figure 5. 18 After clicking on AquaFlux futuristic design button	100

Figure 5. 19 After clicking on AquaFlux futuristic design2 button	101

Figure 5. 20 The AquaFlux futuristic design2, the AquaFlux band	101

Figure 5. 21 The main Epsilon interactive user manual website contains three buttons (links)	102

Figure 5. 22 The two modes screen presented in two navigational buttons (yellow colour) for Epsilon instrument. Left button for 360-Degree VR video, Right button for 3D animation mode	102

Figure 5. 23 Shows Epsilon seated in its base, waiting for a user to click on the interactive probe	103

Figure 5. 24 Epsilon in action, Epsilon probe is moving towards the patient’s hand	103

Figure 5. 25 Click on the button (top right) to scan human skin	104

Figure 5. 26 Epsilon scanning in snapshot mode	104

Figure 5. 27 Epsilon scanning in a burst mode	105

Figure 5. 28 Epsilon scanning in a video mode	105

Figure 5. 29 Epsilon 360-degree VR video in action	106

Figure 5. 30 The Epsilon 360-degree VR video in action from a different angle	107

Figure 5. 31 The Epsilon 360-degree VR video in action from a different angle. In the background, Epsilon sits back into its base while scan results show on the laptop monitor	107

Figure 5. 32 The Epsilon 360-degree VR video in action from a different angle	108

Figure 5. 33 The Epsilon 360-degree VR video in action from a different angle	108

Figure 5. 34 Epsilon components in the sturdy case in 3D	109

Figure 5. 35 Epsilon VUM drop-down menu	109

Figure 5. 36 Epsilon probe sliding into the stand	110

Figure 5. 37 Epsilon in-vitro stand set up process	110

Figure 5. 38 Epsilon in-vitro accessories demonstrated with the support of the audio feature	111

Figure 5. 39 Survey’s questions with users’ feedback. 12 users participated in the survey	112

Figure 5. 40 Shows the success rate of the VUM system being smooth and error-free	112

Figure 5. 41 Shows that the user experience of using VUM was enjoyable	113

Figure 5. 42 Shows the success rate of using the VUM	113

Figure 5. 43 Shows a high rate of users controlling the VUM	114

Figure 5. 44 Shows the success rate of applying the audio feature into VUM	114

Figure 5. 45 Shows some users agreed that VUM system is comprehensive	115

Chapter 6

Figure 6. 1 Early modelling stage for the new holder of Epsilon in 3ds Max	120

Figure 6. 2 Adding the cloth material to the new holder of Epsilon in 3ds Max	121

Figure 6. 3 New AquaFlux hardware (holder) modelled in 3ds Max	121

Figure 6. 4 Flowchart of the Epsilon interactive VUM system	122

Figure 6. 5 Epsilon VUM 3rd link content, Epsilon’s new holder and futuristic design	123

Figure 6. 6 Epsilon’s holder in operation	123

Figure 6. 7 Moving head Epsilon, it turns up and down for more convenient measuring	124

Figure 6. 8 Modelling Epsilon futuristic probe and adding texture	125

Figure 6. 9 Adding the newly invented parts to the actual Epsilon device. Setting all pivotal points	125

Figure 6. 10 Placing all pivotal points while considering other moving parts	126

Figure 6. 11 Rendering setup menu for the futuristic Epsilon device	126

Figure 6. 12 Adding materials while the camera has been set up to zoom into the human skin	127

Figure 6. 13 Epsilon’s moving head. Epsilon’s new probe has a display screen and functional buttons	127

Figure 6. 14 Flowchart of the AquaFlux interactive VUM system	128

Figure 6. 15 AquaFlux’s third navigational button content. Three buttons are there (AquaFlux holder, Futuristic design, and Futuristic design 2)	129

Figure 6. 16 AquaFlux holder in operation. AquaFlux probe inserted into the new holder	129

Figure 6. 17 Modelling the head part of the new futuristic AquaFlux probe	130

Figure 6. 18 Smoothing and detailing of the body part of AquaFlux probe	131

Figure 6. 19 Process of the wireframe mode of the body of AquaFlux to spot any overlapping objects	131

Figure 6. 20 combining all moving parts of the futuristic AquaFlux probe	132

Figure 6. 21 Adding keyframe and checking pivot points at the right places to rotate for the AquaFlux futuristic probe	132

Figure 6. 22 Setting up cameras and lights for the 3D scene	133

Figure 6. 23 Setting the environment effects	133

Figure 6. 24 Setting the rendering options	134

Figure 6. 25  AquaFlux futuristic designs with rotatable heads. The final product	134

Figure 6. 26 AquaFlux bands, which can be wrapped around the patient’s wrist, forearm and upper forearm, connection to PC can be made via USB or Bluetooth (Wirelessly)	135

Figure 6. 27 The modelling of the AquaFlux band futuristic design	135

Figure 6. 28 The modelling of the AquaFlux band using the line object for soft and bendy surfaces	136

Figure 6. 29 Using the mesh box for animating bendy, soft objects deploying the FFD modifier	136

Figure 6. 30 Setting cameras for the AquaFlux band futuristic design	137

Figure 6. 31 Setting all environment components of the AquaFlux band futuristic design	137

Figure 6. 32 Setting all rendering options and camera angle of the AquaFlux band futuristic design	138

# Acknowledgement

Thanks to ALLAH the Almighty for giving me strength, patience, and ability to comprehend, learn and complete this thesis

I also admire the efforts of my supervisor Dr Perry Xiao, his inspiration, guidance, and encouragement are deeply appreciated throughout the whole journey of this research.

I want to thank my parents, my wife and my sister, for their continuous support and believing in me.

In addition, huge gratitude goes to my best mates and colleagues, Zein and Richard, for being there, encouraging me when I am down and helping whenever needed.

I would also like to thank everyone who helped me to accomplish the task of completing this research.

# Abstract

AquaFlux and Epsilon are two research instruments that are designed and built by London South Bank University. They are used for human skin studies by measuring skin water loss and skin water content. These skin research instruments have now been commercialised and used in more than 200 organisations worldwide.  However, due to the nature of these research devices, they often require on-site intensive training, which is expensive and time-consuming. There is a genuine need for an interactive virtual training environment that clients and trainees can access anytime from any location. Therefore, to overcome those issues, an interactive Virtual User Manual (VUM) system is proposed.

The AquaFlux and Epsilon VUM systems will consist of building and designing fully interactive virtual environments that are going to guide new clients, existing users, and trainees step-by-step on how to utilise, illustrate the features, functionalities of the research devices. Furthermore, they are going to demonstrate the operational procedure of AquaFlux and Epsilon in different interactive modes (3D animation and 360-Degree VR video). The VUMs are going to be available on the WWW to allow easy access to all users/clients remotely, nationally and internationally.

This project’s main objective is to design and develop a web-based virtual, interactive environment for these products AquaFlux and Epsilon. The project is divided into three phases. Phase one is to select the appropriate software to carry out the task of building all 3D objects and scenes, and this phase lasted until the very end of the design stage. Phase two is the development and implementation of designing the virtual AquaFlux and Epsilon interactive environment and going through the development processes. Phase three includes the creation of new hardware accessories and futuristic concepts that can enhance the way these research devices operate by adding extra features to their basic functionalities. By using 3ds Max and Adobe Flash applications, the highest results regarding quality, reality, usability, and functionality were achieved. 3ds Max is used to create all the 3D objects and scenes, whereas Adobe FlashCS6 is used to add interactivity. The developed interactive environment of AquaFlux and Epsilon has shown excellent results in the areas of accessibility, multiple access, usability, cost, and damage resistance. All previous points are illustrated and explained in detail in chapter five of this thesis.

# Chapter 1 Introduction

## 1.1 Research background

This research undertakes the issue of demonstrating research instruments online for commercial and training purposes. Currently, our era is gradually progressing via adapting certain technologies that are used to fulfil that purpose, especially on the platforms of the Internet and social networking. Products and devices are being illustrated on the World Wide Web through a variety of technologies such as 3D modelling, Virtual reality (VR), Hologram, WebGL, and Augmented Reality (AR). The process of continuously improving those technologies in an online system or application is constantly growing. Nevertheless, it is highly uncommon to find those technologies being utilised to the level of demonstrating a specific device by combining more than an approach to achieve the task, especially in the medical sector. WebGL technology has played a vital role in facilitating the process of displaying 3D content in web browsers. Nguyen et al. (2015) stated that the current technologies used in web browsers such as HTML5 had enabled them to display 3D content easily. Additionally, it made it more feasible to utilise the power of the Graphical Processing Unit in the computer system to display such content. Therefore, this project of AquaFlux and Epsilon Virtual User Manual (VUM) system is designed and built to illustrate and teach clients, users, and trainees how to use these two research devices (AquaFlux and Epsilon) and operate them in a fully interactive virtual world. The VUM system of AquaFlux and Epsilon adopts 3D objects and scenes that represent the actual research tools (AquaFlux and Epsilon) designed and created in 3ds Max studio software, displayed in a three-dimensional virtual reality atmosphere that resembles the exact real system. The interactivity of the VUM system has been added after exporting the 3D files from the 3D software into Adobe Flash CS6 application.  The VUM system is going to explore how to assist new clients in discovering all features and settings of the research tools before purchasing them and establish an extremely deep indication of how these devices operate and used in real life. Additionally, it is going to support all existing users to stay informed and acknowledged with any new software updates, new holders, and accessories design frequently. Al Hashimi and Xiao (2018) described Aquaflux and Epsilon as two modern research instruments designed to measure human skin condensation and evaporation for medical and cosmetic purposes. Nevertheless, training new clients, users, and trainees is a time-consuming process, and that resulted in the notion and the urgent need to create the VUM system for these devices. Additionally, the VUM system is going to display all the features and functionalities of the two instruments (as any ordinary product user manual would do) in a fully interactive virtual environment with the support of audio and illustrative text using the Internet as a delivery mechanism.

## 1.2 AquaFlux and Epsilon

The research work of AquaFlux and Epsilon Virtual User Manual (VUM) is primarily focused on two research devices used for skin measurements. AquaFlux and Epsilon are two instruments used in the medical sector and health clinics for cosmetic purposes. They are used to measure and illustrate the status of patients’ skin before conducting any surgical procedure on it. AquaFlux is used to measure water vapour flux density, the amount of water loss, and perspiration level from all skin surfaces. Epsilon is used for skin imaging dielectric permittivity, for several types of soft materials such as animal and plant tissues. More illustration of the two research devices and their features is mentioned in further detail, along with their functionalities in chapter 3.

## 1.3 Skin histology

Skin is a defence barrier against natural risks, for instance, radiological and microbial assaults, physical and synthetic. Also, it fills in as a sensor to transmit logical data, for instance, suffering, cold to the operational hub and storage to keep food overload and nourishment as fat for a later time. As Junqueria and Carneiro (1977) described that in a typical 70Kg human being, the outer layer of skin is around. Human skin can be divided into three common layers. The hypodermis oily layer, the dermal layer, and the epidermis, the outer layer of the skin covering the body.

Figure 1.1 Structure of Human skin from Wikipedia (2008)

### 1.3.1 Skin functions

The skin carries out and executes different roles and tasks. Junqueria and Carneiro (1977) mentioned a few points to demonstrate a summary of the skin’s natural responsibilities:

- Contain body liquids and tissues - the mechanical ability.

- Skin represents a shield from possibly destructive external and internal attacks. The defensive work against: (a) micro-living beings, (b) radiation, (c) chemicals, (d) temperatures, (e) electric shock, (f) mechanical blow, (g) pressure, or (h) hurt.

- Control body temperature produce and to metabolise combines.

- Discard synthetic waste and give distinguishing proof by skin versions.

- Attract the opposite sex and control blood pressure.

## 1.4 Skin hydration and Trans-Epidermal Water Loss

The water distribution within skin is not uniform. A water profile in skin calculated from Energy Dispersive Spectrometry Spectra (Warner et al. 1988) is shown in Figure 1.2. Stratum corneum, the outmost skin layer, is dry at the outer layer because of the outside dry conditions and wet at its bottom where it is in touch with the inner complete hydrous section of the epidermis. Junqueria and Carneiro (1977) stated the result as, an absorption rise which leads to a progressing dispersal of water from inside the body through the skin back to nature, trans-epidermal water loss (TEWL) will produce inside the stratum corneum. The TEWL for typical skin is about 4~8 g/m2 per h.

Figure 1. 2 Calculated Water profile across human skin (Warner et al., 1988). The vertical scale is per cent water expressed as grams of water per total grams (water plus dry mass) of tissue. SC stands for Stratum Corneum, GR stands for Stratum Granulosum, SP stands for Stratum Spinosum, and B stands for Stratum Basale.

The relationship between relative humidity and water contents of the stratum corneum is shown in Figure 1.3(Spencer TS et al. 1975). According to Takenouchi M. At 0% relative humidity (RH), stratum corneum still holds about 0.05 g/g water, which is tightly bound water. At low RHs, water contents are small and only increases gradually with RH, but at high RHs (beyond 80% ~ 90%), its increases remarkably. In the stratum corneum, there are three types of water: tightly bound water, loosely bound water and free water. The experiments from (Anderson RL et al. 1973) show that the hydration and dehydration rates of free water are lower than that of bound water. This suggests that free water is located primarily intracellularly, with the cell envelope the major barrier to its loss, while the bound water is primarily intercellular or on the cell surface.

AquaFlux and Epsilon are used to measure water loss and water content on different surfaces including human skin. AquaFlux measures the water loss based on water vapour density gradient above the skin surface, whilst Epsilon measures the skin water content based on dielectric constant measurement principle. Further AquaFlux and Epsilon details and instruments operational procedures are detailed in chapter 3 and 4 of this thesis.

Figure 1. 3 Concentration of water in stratum corneum in equilibrium with air at 30 ºC as a function of relative humidity (Spencer TS et al., 1975).

# 1.5 The World of 3D Technology

## Three-dimensional content presented online in a virtual ambiance can convey a life-like experience to any promoted or publicised product or service. Therefore, it was considered to use 3D technology combined with virtual representation to demonstrate the operational procedures of the research instruments of AquaFlux and Epsilon. Additionally, this approach will show and introduce all features of these devices to new clients, trainees and, users.

## 1.5.1 The world of 3D and virtualisation

Since the arrival of Web 2, there has been a significant development in web applications. The upgraded version of Web 1.0 is Web 2.0. Web 2.0 helps and stretches into many different activities such as teamwork, social networking, sharing knowledge, involvement and communications between Internet users and computers. Ghanbarzadeh et al. (2014) stated that one of the highlighted technologies and features of Web 2.0 is the capability of displaying 3D content and objects in their compatible browsers. For instance, 3DVE (three-dimensional immersive virtual environments, which are 3D objects and scene built and created in 3D modelling applications published on-line used with multimedia contents. In addition, 3D contents and 3D objects have been around the world of technology since the need for animation and animated content to be used in computer systems during the era of the 1970s in computer graphics. The main idea of creating such an object in three dimensions is to show users the reality of the object. We wanted it to appear more realistic than an ordinary two-dimensional picture or object. The process of creating a 3D object can be divided into three stages:

- 3D modelling: the process of building a computer model in 3 dimensions.

- Layout and animation: the process of adding animation and creating a scene to the object.

- Rendering: the process of adding other effects to our scenes, such as lights, surface type, positioning the camera and other qualities.

Before proceeding deeper into the world of 3D, this is a brief illustration of the differences between a 2D and 3D object in computer graphics:

- A 2D shape or object has height and width, whereas a 3D object has a height, width, and depth.

- Mathematically, a 2D object uses x-axis and y-axis, whereas a 3D object has x-axis, y-axis and z-axis which represent the depth of the image, shape, model or the object.

- Objects in the real world have three dimensions because they have depth in them rather than only height and width as in 2-dimension objects, and that’s why 3D objects are more real.

Figure 1. 4 Differences between 2D and 3D objects

Virtualisation or the virtual world it is highly connected to 3D, as it is the best way to illustrate any 3D object, picture, movie etc. Cellary and Walczak (2012) described the virtual world or the virtual environment as placing the client of Web 2.0 in a world that is as realistic as possible to the real physical world the user lives in and allows users to conduct any service as they would fulfil it in their real world. Another essential element that contributed to the importance of virtualisation is the availability and the existence of sophisticated interactive 3D multimedia packages, which resulted in a beneficial and usable virtual world, especially when uploaded and utilised online. Therefore, it is noticeable that most of the internet users nowadays are ready to try out three-dimensional contents displayed on web pages, and that is due to the increase of popularity in the use of social media, online 3D games and three-dimensional movies based on the availability of sophisticated machines with high-quality graphics and other multimedia capabilities. Hence, it is time to introduce interactive 3D multimedia technologies to other application fields such as tourism, museums, e-learning, online training, business, and e-government. The increased interest in utilising and experiencing these 3D applications and technologies has become more exciting and practical with the accessibility to high-speed internet services. Moreover, VMware Inc (2006) suggested that currently, social media is extremely linked with online 3D content and virtual environment as this type of presentation will largely increase their attractiveness.

## 1.6 Research questions

The main research problem of this project that this report will investigate is the notion of building and designing a complete system as realistic as possible to assist in the illustration process for users and clients on how to set up, manage, and operate AquaFlux and Epsilon in addition to showing all their features and functions from a remote location to save time and cost. This broad inspected query can be divided into the following:

- How to build a realistic environment to display all the features of the research devices by utilising the currently available technologies in the field, such as VR, AR, and 3D.

- How to design and build a fully interactive system that would interact with users and give them a genuine experience and an authentic sense of the two research instruments as if they were being tested and used in real life.

- How to utilise the Internet as an international platform (global service) to connect the AquaFlux and Epsilon VUM system to all interested users, clients, and trainees.

- How to overcome the issue of the availability of a good internet bandwidth and fast browsers that are capable of displaying 3D objects demonstrated online.

- How to upgrade and improve the VUM system of AquaFlux and Epsilon by introducing the usage of new technology to it, for example, upgrading 3D animation scene into 360-degree VR video. Additionally, the reason why this technology has been selected is to demonstrate those research instruments and illustrate how they operate in an enhanced way.

## 1.7 Conceptual framework

This research work investigates the process of building and designing the AquaFlux and Epsilon Virtual User Manual (VUM) environment step by step and applying it on the World Wide Web (WWW) platform. However, before proceeding further into the technical details of the VUM system, it is worth exploring some concepts that surround this work. 3D contents, scenes, and objects have always been associated with the field of Virtual Reality (VR). Wojciechowski et al. (2004) stated that it is a technology that has reached an elevated position of development and advancement allowing it to be brought into many practical fields such as engineering, e-learning, e-health, and e-commerce. VR combined with Augmented Reality (AR) has produced a powerful combination of technologies called Mixed Reality (MR) for displaying 3D contents. AR goes a little beyond VR systems by the support of integrating both real and virtual elements into one perfect, highly developed scene. VR and AR are certainly becoming the technologies of the current era.

In the research of AquaFlux and Epsilon, the VUM system is displayed in a 3D virtual environment that is fully interactive with the user, trainee or client. The system is built to promote the two research instruments and assist in the process of marketing them. Therefore, the VUM system represents a whole and efficient essence of real research devices. It shows and illustrates all their, features, functionalities, and how they operate in the 3D virtual clinic. The step-by-step virtual user manual of AquaFlux and Epsilon is going to demonstrate realistic operational procedures conducted on virtual patients in a virtual clinic. Additionally, the amount of interactivity implemented in the project is comprehensive, and it covers all the phases of the process, starting from devices’ configuration, installation, parts illustration, and a sample measurement procedure. Furthermore, using an audio feature that reads out parts and devices description as well as describing the steps of performing the medical procedure.

The interactivity added to the VUM system is done through using a program called Adobe Flash CS6. One of the main features of the work is how real each device responds to user interaction in order to give an interested client or a trainee a comprehensive idea of the two devices, what are they, description of their parts, how to use them, and how to operate them fully from a remote location.

The availability of the VUM system online has made the objective of designing an extremely realistic and virtual environment essential. Murray (2011) described the enhanced freedom of interaction between users and the virtual environment and the existence of diverse styles of interactions had increased the necessity to utilise Virtual Learning Environment (VLE) in different parts of government and private sectors especially with the availability of decent Internet speed and services. Moreover, the usage of the Internet on a massive scale and the popularity of social media internationally have made this research more necessary.

Interactivity and animation were crucial components to make the AquaFlux and Epsilon VUM system as real as possible. The animation and interaction that can be added in Adobe Flash CS6 are easily exported as an SWF file format which makes them compatible to be published and used online. Jovisic and Rizvic (2008) stated that it is feasible to export the 3D content into a Flash video format (.flv) that is suitable for the online stream. The current era is hugely connected with the use of social media and specifically downloading and watching streaming data over the Internet. Therefore, the Adobe flash CS6 feature of converting 3D content files into Flash videos file format ready to be used for online stream purposes made it the ideal choice to add interactions to the VUM system. Valdez et al. describe that “VLE are good tools for task-based learning and other student-centred approaches, because of what the virtual environment has to offer” (Valdez et al. 2016, p. 2).

Additionally, they stated that AR technology used with 3D content presentations online is an extremely sophisticated approach to deliver a life-like experience to the user in terms of perfect and total realism and visualisations. “AR visualisation devices may be quite demanding. AR has more strict specifications than VR (related with alignment problems), as it needs to follow and track information about the environment with varying levels of accuracy and precision” (Valdez et al, 2016, p. 2).

Utilising AR technology can be considered as one of the best technology choices for upgrading AquaFlux and Epsilon VUM 3D content project to be presented online in a virtual environment. However, the downside in this regard is the high cost that the project AquaFlux and Epsilon VUM system is going to face if decided to add some AR technology to it.

AR deployment requires the need to purchasing extra hardware devices to accomplish the entire upgrade into AR demonstration such as projectors and an extremely sophisticated computer system with exceptionally advanced graphics to assist in emanating video imagery out of it clearly in HD technology and with no interruption.  AR will facilitate in delivering a state-of-the-art demonstration process of the VUM system as a real component that will occupy its physical vicinity and allow the users to experience an incredibly genuine type of interaction that will massively assist in the process of marketing the two instruments. Furthermore, it assists users and trainees in learning and gaining knowledge of how to use the AquaFlux and Epsilon VUM system comprehensively.

## 1.8 A statement of the problem

AquaFlux and Epsilon are two research instruments that are designed and built by London South Bank University and used for human skin treatments. They are used to measure human’s skin wetness for cosmetics purposes. However, Xiao (2014) stated that the process of training new clients on how to use these two devices is, in fact, time-consuming and it has to be conducted physically on site. Additionally, he states that there are plenty of clients who are interested in viewing these two devices and discovering all their features and functionalities before purchasing them from abroad (Internationally) and wanting to see and observe how AquaFlux and Epsilon operate for marketing purposes. In our research, we have agreed with the above author, however, we think that we can enhance the system by inventing a new method to overcome the above problems by designing and building a system that is going to guide new clients, existing users, and trainees step-by-step on how to utilise, illustrate the features, functionalities. Furthermore, it is going to demonstrate the operational procedure of both research instruments, AquaFlux and Epsilon in different modes, utilising more than an approach to achieve that. The newly invented system is an interactive virtual environment that would demonstrate the two research tools in 3D contents. The AquaFlux and Epsilon VUM system will also be available on the WWW for easy access to clients or users from a remote location nationally and internationally. At the moment, to build and create such a system, there are few expected challenges we might encounter during this research such as:

- The selections and the use of multiple 3D programs to design the research instruments and all objects involved.

- The mixed technologies to be used with 3D software such as VR, 3D animation, and 360-degree VR video.

- The VUM system should be fully interactive with users; in other words, the selection and use of another application to add interactivity such as Adobe Flash CS6 or CS8.

- Additionally, the continuous upgrade and advancement of these 3D technologies periodically, and that is due to the immense interest that people are having towards any virtual environment concepts which results in a huge competition.

- The degree and the level of reality (realism) in presenting all features and functionalities of the two devices to the viewers.

## 1.9 Research methodology

The research work of building a virtual environment system for AquaFlux and Epsilon research instruments VUM has gone through several phases. Stage one was mainly to diagnose the main research problem and to identify what the requirements are of the existing system available at hand. The existing system was basically introducing the AquaFlux and Epsilon devices to new clients and users physically, followed by the process of demonstrating how these two tools operate and what their main features and functionalities are. Furthermore, this process was very prolonged and cannot cover the whole number of interested clients who are available internationally in different parts of the world. As a result of that, the current research work of AquaFlux and Epsilon VUM system has emerged and is going to answer those requirements. Also, we added other features to the system, such as a designated section on the VUM website that updates users. Moreover, it informs them about any latest new concept designs such as accessories and holders for the probes of AquaFlux and Epsilon.  Regarding stage two, this stage was specifically focused on searching and finding the most suitable software and programs to begin the creation, design, and building processes. At the early stages of this project, Google SketchUp, Blender, and Unity programs were used briefly to build the 3D objects of the project’s scenes. However, due to lack of resources amongst the mentioned programs, it was difficult to continue using them, and a technical decision has been made to move into more sophisticated software to use for the rest of the project. Therefore, 3D Max Studio was selected for its professionalism, features, functions, and for the huge amount of available resources that cover a wide variety of topics related to our work. 3ds Max is available for free to download and to be used for educational purposes.  The other program that has been selected to add interactivity to the work was Adobe Flash CS6. It is a straightforward program, functionalities are covering the objectives of the project, and it was easy to use. Thus, it has been selected to be responsible for designing the interactivity between the clients and the VUM system online. Currently, the programs are available at hand then stage three is commenced.  During this stage, the technical approach adopted was to design all 3D objects of the research tools first, such as AquaFlux probe, Epsilon probe, AquaFlux base, Epsilon base, protective cases etc. Resultantly, most of the time, the work was focused on the 3ds Max software for building those 3D objects and the clinics’ scenes. This stage consumed an extremely large amount of time on literature research and reading other authors’ works to find a specific function or a special way of completing a certain design process. To ensure that our 3D models resembled real life-like objects of AquaFlux and Epsilon, a ruler was used to compare and measure between the original device and the created object in 3ds Max program. Additionally, placing a real image of the instrument next to the modelled object and let the 3ds Max software calculates its size (modelled object) in comparison to the real device. The process of creating a 3D object in this research is divided into three stages:

- 3D modelling: the process of building a computer model in 3 dimensions.

- Layout and animation: the process of adding animation and creating a scene to the object.

- Rendering: the process of adding other effects to our scenes, such as lights, surface type, positioning the camera and other qualities.

After completing all the steps that are related to creating a 3D object or scene, it is now time to move into the second software used in building the AquaFlux and Epsilon VUM system, and that is Adobe Flash CS6. Adobe Flash CS6 is a software that is used to add interaction between users and the VUM system online. All created 3D scenes and objects in the AquaFlux and Epsilon VUM system have been exported from 3ds Max program to Adobe Flash CS6 to add interactivity into them. Adding interactivity is achieved by using a special feature in Adobe Flash CS6 called ActionScript. Once interactivity and the sound feature have added successfully to each object and every single scene, now it is time to export all projects’ files into a version that is compatible to be used on the WWW as this VUM system is intended to be used online. That appropriate version of files is SWF, and it works perfectly well with HTML files (Browsers’ format). Additionally, during this stage, a new idea came to light that might improve and enhance the way these two devices work. New hardware and concepts were added to the AquaFlux and Epsilon VUM system. A new section was added to the existed website for all new holders, accessories, and futuristic designs. Stage four is to find a suitable host that we can use to upload our main files that are needed to run the VUM system and to make the virtual system of AquaFlux and Epsilon remotely accessible and globally available to all users, clients, and trainees.

### 1.9.1 Research experiment

As mentioned previously in the research methodology, in stage four, the whole exported SWF files of the AquaFlux and Epsilon VUM system have been uploaded into the WWW for testing. Testing the VUM system will be carried out by the designing team in addition to a random number of users. We hope that the results of testing the VUM system will illustrate the areas of excellence and improvements. The VUM of AquaFlux and Epsilon was intended to serve clients, users, and trainees who are interested in purchasing AquaFlux and Epsilon research instruments and wanted to have a clear and very detailed illustrative idea on how these two devices operate, function, and what are their characteristics. From a marketing point of view, carrying out a usability study was essential as it shows the final product’s advantages, disadvantages, and highlights any areas of excellence and parts that require further improvements. The usability study of the previously mentioned experiment was conducted by a variety of users, mainly people from a non-IT background. A questionnaire was designed to tackle the most apparent and essential questions that could arise while using such a system, moving on to more technical questions. Data collected from this survey are a quantitative type of data. A designated chapter that discusses users’ responses illustrated via charts and analyses users’ feedbacks will be presented in this thesis later on. The VUM system or the interactive virtual environment of both AquaFlux and Epsilon showed great ease of use, efficiency and practicality according to the analysed results gathered and obtained from the survey participants. With this virtual environment demonstration at hand and its availability online, clients, trainees, and users who are interested in purchasing one of those skin measurement instruments or wanting to see how they work as well as obtaining accurate results it will help immensely in conveying the main and whole idea of these two devices. Future ideas, improvements, and upgrades are also on the horizon. The concept of Augmented Reality and 3D hologram can represent the future idea for VUM system. Expanding to the Android systems to allow the VUM system to operate on mobile phones. Methods followed in this research were two main approaches. Firstly, using the 3D modelling software to create and design all 3D objects, scenes etc. secondly, adding interactivity and audio clips to the project using Adobe Flash CS6. Audio feature added to clarify any difficulties that users of the system might face while going through the VUM step-by-step illustrative text.

## 1.10 Project planning

Below is the Gantt chart of the AquaFlux and Epsilon VUM systems. The Gantt chart consists of all research, implementations, and all major and minor activities related to the project throughout all stages.

Task		Deadline

Milestone

Figure 1. 5 Gantt chart of the AquaFlux and Epsilon VUM systems

## 1.11 Ethical issues

No ethical issues. The AquaFlux and Epsilon VUM systems’ project is mainly focused on 3D development software. All the research was focalised on the creation, development, modelling and design aspects of the skin measuring instruments. At present, no human volunteers are required in my study.

## 1.12 Original contributions to knowledge

An original contribution to knowledge in the design and technical approach of AquaFlux and Epsilon VUM was the usages and deployment of diverse techniques that resulted in a unique 3D VR interactive environment. The work has followed a variety of technologies, methods, and skills to achieve its objective. 3D modelling and the creation of two devices (AquaFlux and Epsilon) in a very realistic manner using 3ds Max modelling software has given the research instruments a state-of-the-art realistic 3D content demonstration. Interactivity and interactive buttons were created and built using Adobe Flash CS6, which made the user’s experience extremely smooth, feasible, and enjoyable to operate. Moreover, the addition of a voice and audio capability that plays along the illustrative text in AquaFlux and Epsilon Virtual User Manual has added a unique feature that most VR environment lacks. Finally, the addition of converting part of the VUM of AquaFlux and Epsilon into a 360-degree VR video experience has empowered how these two devices operate. Furthermore, it has incredibly polished the way to market and promote these two research instruments comprehensively, systematically and efficiently on a global scale. All mentioned methods and techniques used in achieving the creation of this feasible, interactive, and professional virtual user manual of AquaFlux and Epsilon has enhanced the process of understanding, discovering, and training clients and trainees on how to use the system effectively. Moreover, there are multiple products that considered entirely new hardware designs added to the existed AquaFlux and Epsilon VUM system. There are the newly invented hardware holders for AquaFlux and Epsilon, respectively. Furthermore, three upgraded concept designs based on original tools.

- AquaFlux futuristic design (AquaFlux with rotatable head).

- AquaFlux futuristic design two (AquaFlux Wireless band).

- Epsilon futuristic design (Epsilon new moving head device and on probe screen and functional buttons).

All the above-developed parts and hardware can represent the original contribution to knowledge to the main VUM system. The main goal behind adding and upgrading new pieces to the system is to improve efficiency, usability, and enhance the operational procedure of the two research instruments.

## 1.13 Limitations of the study

During the creation and implementation of the AquaFlux and Epsilon VUM project, the work came across a few obstacles and limitations. It is typically challenging when the creators of any project or research are applying more than one approach to acquire the anticipated results. Accordingly, using two different applications during this research work faced the issue of file compatibility (3ds Max and Adobe Flash CS6 programs).  In addition to the continuous upgrade and advancement of these 3D technologies periodically, and that is due to the great enthusiasm that people are having towards any virtual environment concepts, which results in a huge competition. Furthermore, the high expectations of developing a product that resembles the exact actual instrument and the level of reality in presenting all features and functionalities of the two devices to the viewer. Moreover, the issue of system compatibility when designing a product using a normal PC then the process of uploading it online, which is a totally different platform considering the available timeframe and the several availabilities of compatible Internet browsers that can view such content. In addition, due to the high competition in 3D virtual environments, some top of the range and exquisite designs and contents are vital for a successful outcome. Besides, the extra time needed to learn how to use those new technologies (new programs used for the first time) and the cost that some of these technologies require which made it difficult to utilise some of the advanced technologies in the world of VR projects such as 3D Hologram and AR, especially the need for the availability of certain hardware.

### 1.14 Organisation of the thesis

This dissertation shows and illustrates all the stages that resulted in building an interactive virtual environment for two research tools AquaFlux and Epsilon. Chapter 2 introduces a comprehensive literature review for journals and papers that have conducted researches similar to our project. It describes the most advanced trends in the world of 3D and VR technologies and an overview of VR in the field of e-learning. Furthermore, it reviews several 3D modelling software and 3D enabling technologies. The final section in chapter two is focused on the main reasons on why 3ds Max and Adobe Flash CS6 software have been chosen for building and developing the AquaFlux and Epsilon VUM systems. Chapter 3 illustrates the two devices (AquaFlux and Epsilon) and review their origins, features, functionalities and briefly lists all parts and components that assist in the operational procedure of the instruments. Chapter 4 contains the main methodology that has been followed in accomplishing the work. The chapter explains all technical approaches utilised in building the VUM systems and all the stages of modelling both instruments. Also, it provides detailed technical information regarding the actual research devices. Moreover, the chapter demonstrates how the technology of VR is created and specifically shows the main steps of creating the 360-Degree VR experience of AquaFlux and Epsilon. The last section of this chapter discusses the major obstacles and difficulties encountered during all phases of this work and how they have been resolved. Chapter 5 is the results and analysis chapter that shows the results of the work and explains how AquaFlux and Epsilon VUM systems work. Additionally, the chapter contains an essential part of this work, which is the user evaluation study that displays the practicality of the project, advantages, and any rooms for improvements. The chapter followed by, comparability study that proves the benefits of using the virtual environment of AquaFlux and Epsilon over the actual devices in real life. Chapter 6 is dedicated specifically for the new addition to AquaFlux and Epsilon VUM systems. It presents the new AquaFlux and Epsilon holders and AquaFlux and Epsilon futuristic designs. Also, the chapter shows how these new components operate by illustrating their functionalities.  Finally, chapter 6 contains a summary of this dissertation, as well as review the main research phases. It reviews the research problem, research solution, research methodology; problems encountered, and state the possible directions of the future work.  Thesis finally ends with the references section followed by mentioning the original contributions to knowledge section in details.

## 1.15 Summary

This chapter describes the human skin, skin histology, skin hydration and major skin functions. It briefly describes the relation between 3D and virtual world. Followed by, a brief introduction about AquaFlux and Epsilon research instruments. Furthermore, it introduces the research work through the research background, followed by the main research questions and the conceptual framework. Subsequently defining the statement of the problem of the VUM systems of AquaFlux and Epsilon tools. Research methodology explained in detail listing all stages of creating and implementing the project in addition to demonstrating the areas of excellence and areas of further improvements.

# Chapter 2 Review of Virtual Environments and 3D Technologies

This chapter presents a review of projects and research work that has been carried out for publishing interactive 3D projects online, 3D web-based interactive medical environments and the latest 3D contents used in this field. The topics of Virtual Reality and E-learning in regard to 3D contents displayed online are reviewed and discussed in depth. Additionally, this chapter is going to explore various popular 3D modelling tools and applications used in creating interactive virtual worlds. Moreover, it reviews several 3D enabling technologies that are currently used in Virtual Reality presentations such as Augmented Reality, 3D Hologram, VRML and many more.  Finally, the chapter lists a few points justifying why 3ds MAX and Adobe Flash applications were selected to design an interactive virtual environment for AquaFlux and Epsilon research instruments.

## 2.1 Trends in 3D and VR technologies overview

Three-dimensional objects utilisations are ever-increasing in the current era, particularly on the WWW platform and the majority of its applications. 3D contents, 3D scenes, 3D applications and many more are being used on a huge scale. 3D objects presented online immersed in a virtual world with some kind of VR technology is by far, one of the greatest notions for many online applications or systems nowadays.  To publish a 3D content online, we need to present the work in a virtual environment for additional user immersion that will make the interaction more user-friendly and to provide trainees or clients with a very realistic feeling of viewing and testing the published object online. In the medical sector, clinical simulations displayed via web pages have become vital in assessing surgical procedures before commencement. Additionally, those clinical simulation programs provide early planning of any surgery. Salgueiro et al. (2015) described that in recent years those clinical simulation programs had increased as they reached a highly developed level of advanced characteristics and provided a high level of reality through presenting a fully immersed 3D virtual environment that simulates a medical doctor, medical student or even a trainee in a clinic or a hospital conducting an operation or performing a surgery.  Breast reduction surgeries are an extremely sensitive type of surgical operation on both levels of functionality and artistically. Therefore, to reduce the chances of causing any harm or threats during the main procedure, simulation of the three main stages of this type of surgery namely cutting, knitting and suturing has proven to be an effective approach to obtain a safe and ultimate result.  The benefit of following such a technique is to give the specified medical member the opportunity to test with all possible restrictions and correct them. Hybrid Web Interface for Breast Reduction Surgery has adopted the method of using X3DOM to generate 3D graphics. X3DOM is an open-source framework for displaying interactive 3D contents in web browsers.  To assist surgeons in illustrating the breast object online, they can interact with the shape of the breast via using the mouse to change the view and to rotate in different directions.

Another area extremely associated with 3D contents being used online is e-learning or online training, combined with virtual presentation it stimulates the presented content as if it is used and tested in a real world. Potkonjak et al. (2016) described the new virtual technologies in their work as new emerging technologies such as computer graphics, augmented reality, computational dynamics, and virtual worlds can solve some of the problems in this area. In recent years, new ideas are appearing in research related to the future of education, especially in teaching science, technology, and engineering. For example, technological changes are distance learning, e-learning, virtual laboratories, virtual reality and virtual worlds, avatars, dynamics-based virtual systems, and the overall new concept. The problem with distance education in science, technology, and engineering is that they require a laboratory. There are two different viewpoints as a solution to the lab problem. The first solution is developing a distance access physical (real) laboratory. The second one is developing a software-based virtual laboratory. There is an argument for the second one. Though the creation of the remote-access physical laboratory is possible but can be complex, due to its requirement of sensory-control software and hardware, expensive equipment and regular maintenance. Moreover, it is relatively inefficient because only one student can access at a time, and it does not support collaborative types of teaching and learning. The second one, which is a fully software-based virtual laboratory, can solve some of these problems. The virtual lab systems and simulators are more popular and accepted science, technology, and engineering teaching and learning environment. Advancement in computer graphics, VR, and virtual environments technologies are reducing the gap between the real world and the virtual world. At this point, the advantages and disadvantages of the virtual labs in comparison to the on-site physical labs are pointed out below:

The Advantages:

- Virtual laboratories are cost-efficient for schools and universities for producing high-quality laboratory-work in three main disciplines such as Science, Technology, and Engineering (STE).

- Flexibility: Different components (virtual apparatus) for different virtual (simulation) experiments can easily be created.

- Multiple Access: Several learners can use the same virtual equipment at the same time.

- Change in the system configuration: In a robotic system, a user may change the robot links, modify parameters, or replace the motors, etc. that often cannot be changed in a real system.

- Damage resistance: In a virtual robotic, collision and overloading is allowed with the surroundings resulting the robotic arms collapse, but the robot will rise again and continue working after the user replaces the motors with a stronger one. Therefore, the damage is allowed in the virtual world. Hence, learning from mistakes is possible.

- Making the "unseen" seen: Most real lab devices have a guard (cover) to protect from dust, etc. In most cases, the cover cannot be easily removed. In robotic virtual equipment, covers can be removed or made transparent for making the inner structure visible.

The Disadvantages:

- The first problem arises from computer software resources. Dynamic modelling and 3D CAD modelling of objects can be complex, especially if objects are integrated into a virtual world. The problem can occur where among objects, different interactions happen.

- A VR system does not exist. Therefore, nothing dire will happen, and students may feel like they are playing a video game. The real experience instantly makes a student serious and responsible.

The relationship between 3D content published online and presented in a virtual ambience is one of the most popular and upcoming approaches that have been adopted by several applications to demonstrate a notion or to deliver a certain idea realistically. Rodrigues and Robinson (2009) stated the importance of 3D design and virtualisation in e-learning: 3D imaging has a substantial effect for multimedia and e-learning which is proven that visualisation and interactive manipulation of 3D models can considerably affect learning.

Advantages of using 3D imaging in e-learning environment are as follows:

- The possibility of producing real 3D models of objects which can instantly be recognised as such by the learners.

- 3D imaging can be used to provide interactive visualisation.

- 3D imaging can be manipulated as virtual objects on the screen.

A 3D world can provide users with a full immersed experience.

- 3D provides an opportunity to explore objects relationships.

- 3D gives control to the user on how objects are displayed.

- 3D provides a variety of questions and answers dialogues.

- 3D provides better and deeper learning and recall of the memory.

Normally, 3D models are created using a 3D modelling package such as 3ds Max or Maya or their open source equivalents – though open source tends to be less complex with fewer advanced features. A 3D scene model is created from geometrical shape objects, such as rectangles, triangles, circles, cones, etc. e-learning contents are placed into hypermedia documents, causing difficulty in 3D integration into HTML files. Web browsers are not yet designed to deal with the (normally large) 3D data files which require a large number of computational resources. It takes time and effort to digest such proposals. Therefore, readily available Mozilla and Google proposals can be adopted as standards. Mozilla and Google use the same technologies: OpenGL interfaced with JavaScript.

The medical area is hugely associated with the use of advanced technologies such as 3D and VR for illustration, training, testing and conducting several medical procedures. Ghanbarzadeh et al. (2014) described the usages of virtual worlds in different medical sections 3DVWs (3D Virtual Worlds) had been used in various applications in health-related activities in five main categories: education, treatment, simulation, evaluation, and lifestyle. The education category was further divided into academic education and professional education. Figure 2.1 indicates the result of this study.

Figure 2.1 The categories of the application area of 3DVWs in the healthcare sector (Ghanbarzadeh 2014).

Other authors stated the importance of using the technology of VR in the medical field as a training and demonstrative tool. Violante and Vezzetti (2015) described how to use VR as a tool in medical training. VR is rapidly growing as a very powerful educational tool in the medical sciences. Nowadays, it is well-established in the teaching of anatomy and surgery, but less in the virtual medical instruments’ application. This research work fills the gap and proposes the development of medical devices based on VR technology. The study shows the design and implementation of the most common and useful medical instruments, applied to the heart treatment such as Automatic External Defibrillator (AED), Electrocardiogram (ECG), and blood pressure device or (sphygmomanometer or sphygmometer). These Web-based interactive instruments allow the acquisition of the necessary technical skills required. The user manipulates virtual instruments, and the application simulates the procedure as it is executed in the real world, providing effective learning. The virtual models of medical instrumentations have been developed within the Leonardo da Vinci project. WEBD (Web-based training of biomedical specialists) partners are Gazi University, Aachen University and Politecnico di Torino. The study aims to propose the application of Advanced Distance Learning Technologies (ADLT) and provides professional education for Biomedical Engineers (BME’s), Biomedical Equipment Technicians (BMET’s), and Medical Device Technology Teachers (MDTT’s). A web-based 3D model for medical device learning has proven to enhance the education process. Also, in the project, such 3D models are applied as part of an integrated teaching and learning package that includes theoretical contents, for example, instrumentations descriptions, and self-assessment tools. In this thesis, the author shows the design and the implementation of virtual medical instrumentations for cardiac diagnostic and monitoring purposes. These applications ensure interactive e-learning in medical education with the aim to imitate real patients, anatomic regions, and clinical tasks and to mirror the real-life circumstances in medical service is rendered. These virtual applications allow being manipulated with intuitive immediacy similar to that of real objects, the viewer to “enter” the visualisations to take up any viewpoint, the objects to be dynamic in response to viewer actions. To produce the web-based 3D models of medical devices, the author has used Viewpoint Enliven Software. Viewpoint Corporation provides a computer graphics platform called Viewpoint Experience Technology (VET). VET integrates photo-realistic 3D models, high-resolution 2D images, flash vector graphics, audio and video for practical, dynamic, interactive, and emotionally compelling content. The main components of VET are Enliven, which enables the applicant to produce interactive content and the Viewpoint Media Player (VMP) for displaying it. After having completed the VET scene with the necessary animation and interactivity, it is possible to publish the final VET scene on the Internet to a web page.

## 2.2 VR and E-learning in-depth overview

This section will describe in-depth the terms, Virtual Reality (VR), Augmented Reality (AR) and Virtualization for training and E-learning purposes. As aforementioned, the main objective of this chapter is to illustrate and clarify the main point of the AquaFlux, and Epsilon VUM research focuses on. The main challenge VUM system was created for is to build and design a realistic 3D virtual environment to demonstrate AquaFlux and Epsilon research instruments functions and features and to compare that with other researchers’ studies and projects in similar fields. Virtualisation, as explained briefly in the introductory chapter, is creating an artificial world (Virtual World), environment, ambience or mode to a certain object or content, (usually designed in a 3-dimensional way). Using 3D modelling software and interacting with it similarly as we interact with it in our real world, virtualisation is used in different fields and areas: military, education, online training, distance learning, conferencing, medical services, tourism and more. Wagner et al. (2013) stated that the popular change to VR in education is going to promote for a new educational concept, where students, clients or trainees not only gain knowledge but also communicate with each other by changing the content in a variety of ways. The main feature of VR is the prospect of interaction socially, providing the ability for immediate actions and reactions in real-time.

Another aspect that VR plays a very active role in is the Vocational Education System. It is a system that is specifically designed to support the industry and manufacturing by offering vocational and technical courses delivered in VR ambience and PLE (Personal Learning Environment) which allows users, learners to control their learning and manage their own learning experience (distance learning). As has been pointed out by Kotsilieris and Dimopoulou (2013) that the development of 3D Virtual Worlds plays an important role in e-learning and distance learning. Through three main features: I) creating the illusion of a 3D environment, II) support the application of avatars as virtual representations of human users, III) offer communication and interaction tools to their users. Virtual Worlds are designed to offer real-time communication tools, interaction capabilities and collaboration.

It is very clear the importance that VR presents in e-learning and the future of distance learning methods, courses and classes. That is one of the main reasons that contributed to evolving the idea to make the AquaFlux and Epsilon user manual not only published online but also virtually presented. It has a stronger impact in delivering information, knowledge, data and instruction than any other method. VR systems generally are more enjoyable to use and practice than traditional learning tools.

The interaction process between users and the VR world is the most significant aspect of any VR project. Wagner et al. (2013) described the relationship between users and VR environment as The development of a virtual reality environment for interaction between learners, and tutors or teachers EAD (Distance Education) aims to meet the objectives of Level Development Potential related to Zone of Proximal Development. Through the virtual reality environment, learners can interact with peers, answer questions and make studying more interactive and interesting, thus resulting in the formation of an autonomous learning environment for structuring their knowledge. Consequently, from the previous study, it is noticeable the relation of the interaction process of a VR system and users, the pleasurable and entertaining part of adopting VR as a teaching method for a variety of sectors. And it is one of the strongest advantages that this technology has to offer.

Another interesting topic in the world of VR and immersive environment, which is closely related to AquaFlux and Epsilon VUM system is the i-Lab (innovations-Lab). Callaghan et al. (2016) stated that the I - Labs (Innovations-labs) concept was based on a model created by the UK Royal Mail’s Futures and Innovation Group in 1997 to help their management teams to brainstorm future possibilities. In doing this, it became apparent that the interactions within the groups played a significant role in the effectiveness of the sessions, leading to the idea for providing special environments to support these activities. I-Labs require the participants to be physically present in the same location. However, the advent of virtual reality has opened up the possibility of an I-Lab being located online in a virtual space which allows participants to be located anywhere in the world at any time, using tools that would not exist in the physical world. An example of the I-labs is (HEX), a virtual space station designed and implemented by Unity 3D gaming development software. Another interesting project that represents an extremely user-friendly 3D virtual system is the home automation system. Han et al. (2013) described the proposed home automation system as it is designed to be more user-friendly, intuitive, and realistic as compared to previous other systems. The proposed system architecture is based on a 3D virtual world. The meta-verse client serves as a graphic user interface for home automation. A user can enter his/her virtual home in the 3D virtual world through the remote meta-verse client. He/she will find various virtual home devices similar to those in his/her actual home. He/she can walk around in the 3D virtual home and control the home devices as though he/she was controlling them in the real world. When a user logs in the 3D virtual world, the meta-verse server requests the status information for each home device from the home server. The home server then evaluates and sends this information to the meta-verse server. The meta-verse server processes it and updates the meta-verse client, and the statuses of all home devices are updated and displayed in the 3D virtual world.

Figure 2.2 Home Automation control flow chart, software hierarchy of the meta-verse client, the meta-verse server, and the home server (Han 2013)

With the help of the designed home server and the control protocols, a user can monitor and control his/her home devices via a 3D virtual world. Figure 2.2 Shows captured screen images of the meta-verse client GUI with the miniaturised home equipped with the various home devices that exist in the real world. The avatar can walk everywhere in the house. When the user wants to control a home device in the real world, s/he only has to move the avatar close to the target home device and then double-click the device. Through the ensuing pop-up control menu, he can control the target home device by changing its values. The pop-up control menu is shown in the top right corner of Figure. 2.3. It displays the current status of home devices and waits for the user’s input.

Figure 2.3 Graphic User Interface of the virtual world in the meta-verse client (Han 2013)

From the previous researched work titled “Home automation system”, it is noticeable the importance of visualising daily life tasks in the shape/form of a very realistic surrounding presented in a VR environment, with the support of 3D modelling which leads us to consider an advanced 3D modelling software for designing a detailed 3D scenes and objects carefully.

In the areas of online education, online training or even e-learning in general, we find that AR plays another important role in enhancing how notions, information and expertise are being exchanged between different parties or amongst the learning side solely. Vate-U-Lan and Ed (2011) suggested that AR in the area of education is a promising platform, especially for social and marketing roles due to the accessibility of mobile gadgets that have cameras and Wi-Fi technology. Furthermore, Palmer et al. (2015) state that AR systems in the medical field have been used for a long time in support of clinical research and practice. The difficulty of the ultrasound modality is the requirement that the operator acquires images of specific anatomical structures images oriented correctly and clearly enough to be of acceptable diagnostic quality. Anyone without adequate training is unlikely to acquire, for instance, an apical image of the heart is certainly not an image of high diagnostic value. However, there are a wide range of potential users of ultrasound outside of the domain of radiologists could derive great benefit if they could leverage this technology. Visual guidance during data collection shows the relationship between the anatomy being imaged and the position of the scan plane is one way of alleviating the image acquisition and interpretation difficulties. This technique is commonly referred to as AR and utilises a variety of computer vision and display techniques to give the diagnostic data real-world points of reference. The goal of this research entitled SmartScan is to provide diagnostic or teaching assistants, extending the past research concepts while trying not to complicate the clinical workflow by adding a multiplicity of new and potentially expensive equipment. The researcher used a general-purpose tablet device, based on Apple’s iOS and Google’s Android, to capture the scene using the built-in forward or rear-facing the camera and merge it with 3D rendered objects and data streamed from the ultrasound machine. A single-camera AR system relies on the calibration of the camera to create the matching 3D coordinate space or projection matrix for the virtual objects on the screen. By adopting the Vuforia AR framework from Qualcomm, the researcher avoided the time-consuming job of calibrating each camera on each new device. This camera calibration is then used to construct an OpenGL Projection Matrix directly and apply it to each OpenGL object on the screen. Vuforia has many types of built-in object tracking systems, but for this phase of work, the researcher continues using specially encoded square markers, commonly referred to as frame markers Figure 2.4.

Figure 2.4 Typical Frame-makers a Hamming Code (left) and Vuforia (right) (Palmer 2015)

Vuforia normally handles the rendering of the entire scene or in conjunction with a game engine like Unity, but the researcher employs a different framework for scene rendering based upon VES-Kiwi from Kitware. Vuforia controls the camera on both platforms capturing each frame of the video stream and passing it to the VES-Kiwi backend for display as well as the pose of any framemarker within the scene. Once iOS or Android, Vuforia, and VES-Kiwi have integrated the user correctly, you can move a framemarker in front of the camera, see the 3D object, it represents, and watch it follow the marker’s pose in real-time as illustrated in Figure 2.5 below.

Figure 2.5 SmartScan scene where the echoing plain, LV volume, and semi-transparent heart are visible (Palmer 2015)

Another researcher discussed the importance of AR in the field of e-learning and in particular, in assembly operations. Assembly operations consist of the process of collecting parts, object and, component to shape a certain model or unit.  This process is usually carried out with the support of a catalogue or a user manual that shows all needed parts or components to shape together in a self-contained entity. Nugraha et al. (2017) suggested that presenting user manuals in adopting AR technology that uses 3D graphics and virtual effects will ultimately enhance the process of assembly operations. Users will be able to interact with the presented objects or parts visually using the AR technology to improve each collecting task. Also, users will be able to experiment with the process as they are performing it in real life. Assembly operations using AR technology is an application that presents virtual 3D objects and merges it into an actual true environment using only mobile devices to assist people who occasionally face difficulties with the assembly instruction manuals.  The creation of the Augmented Assembly system is accomplished using the programming language C#, Unity development engine and Android SDK. The main method focuses on creating an AR program that can run all times whenever users want to as it is available on their mobile devices. Users are able to interact with the specified object, view that object then view its parts or components and view its assembly instructions through the AR environment.

From the previously presented researched works and studies, it is apparent that VR and AR in e-learning and the medical fields are extremely efficient, supportive and certainly required technologies.

## 2.3 Review of 3D modelling software

Designing objects in virtual environments requires the most sophisticated modelling tools, the realistic appearances of objects and displaying scene details has an immense impact on users and clients. Also, it works as a great motivational aspect to understand and deliver as it occurs in real life. 3ds Max is one of those sophisticated modelling tools. Shen and Zeng (2011) suggested that 3D modelling is the most important and essential work in the field of VR technology. At present, there are two main methods for producing interactive VR scenes. One is by using programming languages such as VRML and X3D, etc. The other is to use visualisation software such as 3ds Max and Maya, etc. VRML (Virtual Reality Modelling Language) is a scene description language used to create 3D models and rendering effects. VRML can build a dynamic and interactive virtual world in which users can communicate with each other and achieve complex human-computer interaction by using sensor nodes, interpolator nodes, scripts, events, routing and other functions. The VRML language's syntax is cumbersome, and nesting structures are complex, so the programming workload is high, and the created model is rough. 3ds Max is a powerful 3D modelling and animation design software. It can build complex 3D models quickly in the way of visualisation, and add texture maps and excellent environmental effects, and produce the animation of cameras and movements. However, the main application of 3ds Max is not in the field of VR. Therefore users cannot control virtual objects by just using 3ds Max.

3ds Max software modelling package is used in designing virtual laboratory. Hu et al. (2011) stated that research on virtual laboratory focuses on the simulation of office automation equipment, with higher requirements for modelling of internal devices and individual 3D modelling. The development of the virtual laboratory takes place through 3ds Max output as a scene file within a virtual lab environment. Virtools has a certain property, which substantially improves the quality and efficiency of construction of the interactive virtual world. The 3D model is not constructed by Virtools. So, the producer must produce 3D models before entering the virtual interaction modelling and assembly processing various parts of office automation equipment by 3ds Max software. These models are animated and texture-mapped, making them look like actual equipment.

Figure 2.6 Office equipment 3D models designed in 3ds Max (CGtrader 2016)

3ds Max software is used in several virtual projects that are published online. For instance: a virtual walkthrough system. The system is designed using 3ds Max and Real-time VR editor (Virtools). Shihong Chen and Juan (2010) explained that Virtual walkthrough is an emerging area of research, with various development tools. Virtual walkthrough interactive system has been created with VRML and OpenGL technique, which is full of VR characteristics like interaction and immersion, but it requires programming skills. Based on the 3ds Max, 3D animation software and real-time VR editor Virtools, the researcher has developed a virtual walkthrough interactive system for Jiufeng Forest Park. The 3ds Max is used for scene construction, whereas, the Virtools is applied for scene visualisation on which the users can interact with and control the virtual roles by a keyboard or mouse.

The following study carried out by Hu et al. (2017) described the introduction of the upgraded version of HTML, and that is HTML 5. Since the arrival of HTML 5 by late 2014, most of the known web browsers started to provide full support to the new measure. Previously, to establish full interaction between a random user and 3D content displayed online, there must be a plug-in to enable the browser to view the 3D scene. Additionally, it is required for virtual labs that are used for engineering experimentations to have plug-ins such as Adobe Flash and LabVIEW in order to view important visual engineering components such as a real-time chart, virtual gauge, and 3D animation within web pages. HTML 5 increases the support for developing extra powerful web applications in which previously needed plug-ins to achieve such a feat. Moreover, one of HTML 5 most powerful abilities is the availability of WebGL (web graphics library) that allows solid support for 2D and 3D computer graphics. With the aim of achieving a plug-in free web interface, several supportive technologies have been adopted (three.js, Fusion charts, and Canvas.js). For constructing the 3D scene, 3ds Max selected to build all 3D contents and then all models are exported as OBJ format that can be parsed by three.js. Other authors, Seok and Kim (2011) stated that web contents are making a quick and needed changeover from 2D contents to 3D contents in order to fulfil users’ desire in presenting more realist content. Therefore, the necessity to use an extremely advanced and state-of-the-art 3D modelling software is certainly needed in this era. In a different research project, 3ds Max modelling software is used to design a state-of-the-art university campus for real-time roaming system of a virtual campus using VR platform and database connection. Yang et al. (2011) described that a real-time roaming system of Virtual campus is fulfilled by using a VR-Platform and database connection. 3D-virtual campus implements some function including self-excursive trip, path auto-generation of roaming, positioning in bird's eye view, and the buildings querying the database. The researcher used professional modelling software, 3ds Max, to build a very realistic 3D Model quickly. It can use VRP powerful and efficient 3D programming capability, rendering the model in real-time and interactive control, reducing the modelling time, and speeding up the system development process. Most building model on campus can be finished by modifying the basic geometry as illustrated in Figure 2.7 below. If building model is irregular, it needs to use the 3ds Max providing strong modifier command such as “EXTRUDE”,” ROTATION” etc. For example, protuberant, edges or dip angle, etc.

Figure 2.7 3D building of a campus model perspective designed in 3ds Max (Duan 2019)

The research done by Yang et al. (2011) shows the strength and professionalism that 3ds Max possesses in the field of creating and building 3D contents. However, the project above relied on the geometrical capabilities available in 3ds Max to add basic interaction into the produced model. It is possible to mix VRML (Virtual Reality Modelling Language) and advanced 3D modelling software like 3ds Max as it stated by Tao et al. (2010) that in modern times, engines are very popular in industry and agriculture. The disassembly of the engine is prevented because it is easy to be destroyed and will cost a lot of money, to solve the problem; the optimal method is that VR Technique shows the structure of 3D. Three-phase asynchronous engines are mostly made up of two parts, stator, and rotor, as well as some accessorial devices, like radiators, fans, armatures, brushes. It shows that engines are modelled according to the basic configuration of asynchronous engines.

VRML is a modelling language used to create a lifelike, 3D and virtual scene. The reality, interaction, and dynamic can be showed adequately in the VR (Virtual World). VRML is also a kind of descriptive language, containing sculpting and rending, and it regards “virtual world” as a “scene”, and everything of the scene is regarded as “nodes”. The transformation between 3ds Max and VRML is very important because it is a central part of modelling to displaying on the Internet. Adobe Flash is another software that can be used in the creation of e-learning support for computer graphics teaching and testing method which is a very good example of LMS (Learning Management System) to add interactivity and animation. The animation and interaction that can be added in Adobe Flash CS6 are easily exported as an SWF file format which makes them compatible to be published and used online. Burns et al. (2014) suggested a solution to the problem of exporting and converting 3D files to be compatible to view on web browsers, which is Virtual World Framework (VWF). VWF is software that eliminates the need for a plug-in to be attached to the web browser in order to create a 3D multi-user virtual world online application. With VWF web developers can easily use the framework as a platform to develop an array of applications making use of the web standards technologies such as WebGL and WebSockets that allowed the direct embedding of 3D contents into web browsers. Another software that enabled the conversion and worked as a transitional link between 3D models that have been created using 3D modelling tools and the popular web browsers is Adobe Flash which can generate files format SWF and FLV for online streaming. Tomanova and Capay (2010) described the Flash animation in their work as these lessons are available in SWF format and contain animations and interactive animations according to what object or transformation property should be presented. For instance, some lessons used animations to explain how transformations and algorithms work, and in other lessons, interactive teaching support is available for better understanding of computer graphics algorithms and methods. This type of teaching aid enables the learners to test algorithms in practice using whatever inputs. Another research conducted by Min et al. (2016) stated that although the current Internet era is packed with technologies that enable 3D modelling presentation directly possible into web-pages, there are still some enhanced applications that can be used with 3D contents for online presentation. Adobe Flash has recently improved its 3D graphical capacities, and it's Flash player has the capability to execute quick visualisation and rendering of large 3D data files. This particular improvement is vital in building medical imaging apps.

The 3D modelling software 3ds Max can animate scenes in any virtual project which makes objects move around the scene as in real life. Lee et al. (2014) described their project that presents cultural content in VR environments as an educational and informative user interface that will provide users with knowledge and information regarding the wall painting tomb of Goguryeo. 3ds Max is used to building and render 3D objects; Adobe Flash is used to add flash animation and, Adobe Premiere to create a two-minute video to mix 3D files and Flash animations.

In another project, Adobe Flash is used to add interactivity, this time in the field of mechatronics. Yılmaz and Tunçalp (2011) claimed that their study aims to investigate the effect of a Web-based mixed learning approach model on mechatronics education. The model combines different perception methods such as reading, listening, and speaking and practice methods developed by the vocational background of students enrolled in the course Electromechanical Systems in mechatronics education. Web-based education offers many advantages, including ease of use, and the provision of suitable storage sites for the various types of information encountered during an education, such as lecture notes, pilot tests, to-do lists, or projects as shown in Figure 2.8.

Figure 2.8 Web page prepared for the course in Mechatronics (Yilmaz 2011)

Adobe Presenter and Adobe Captivate software were used to create text, pictures, and images of the course material. Adobe Flash was used to provide interactivity between the user and the training content, and 3ds Max Studio was used for 3-D simulations. Also, Adobe Connect Professional has been used as a Learning Management System.

3ds Max modelling software can build, create, animate and render a 3D object. Interaction can be added using Adobe Flash. In further detailed technical terms, the interaction can be added in Adobe Flash software using a scripting language called ActionScript. Zhang et al. (2011) described Hydraulic press simulation teaching system of the world's mainstream design software 3ds Max 3D modelling, rendering after the model has been refined and realistic 3D view. This design will ultimately improve the model of 3D animations into Flash production platform, production and development of the model in ActionScript to embed Flash script and make it educational for the whole simulation of the operation of the interactive system. The simulation teaching system is based on the Hydraulic Press of Foshan Litai Company for technical support; modelling consults the Litai YP series presses.

## 2.4 3D Enabling Technologies

In this section, a variety of technologies that work individually or with other tools to produce professional 3D scenes and contents will be reviewed. Primarily for 3D contents that will be published and viewed online.

There are many tools, applications, technologies and practical approaches that could build and generate 3D content. Some are direct techniques, and some are incredibly complicated and demanding.

### 2.4.1 Augmented Reality (AR)

AR is the digital information and the viewer’s ambience combined in real-time. In AR, the real world is improved or expanded in some way through the utilisation of virtual components. Azuma et al. (2011) described the core concept of AR as the basic goal of an AR system is to enhance the user’s perception and interaction with the real world. Through supplementing the real world with 3D virtual objects that appear to coexist in the same space as the real world. AR systems share the following properties:

1) Blends real and virtual in a real environment

2) Real-time interactive

3) Registered in 3D

Registration refers to the accurate alignment of real and virtual objects. Without proper registration, the illusion that the virtual objects exist in the real environment is strongly compromised. Registration is a difficult problem and a topic of continuing research. An interesting point can be looked at from the previous study, that both VR and AR use 3D design to present their content in a browser to look as real as possible to the viewer. However, from the concept point of view that VR is a separate system or environment from AR, they are both combined in an area called Mixed Reality (MR). AR more likely involved in a Head Mounted Display (HMD) or see-through display projects. Head Mounted Display units are commonly used with AR, and they enable users to explore the virtual environment and view the augmented features of the surroundings. Ponto et al. (2016) explained that AR is extremely close to the field of arts and theatre events. AR is employed to generate life-like dancing performances. Additionally, Lu et al. (2013) mentioned that the essential technology used in AR is the sensors and projection technology that assist in the process of constructing virtual surroundings.

Online training and e-learning are very close areas in the world of virtualisation and 3D content design. Information and Computer Technologies have become almost a daily part of human life and activity on all different aspects social, politics, informative etc. AR has the optimum potential to excel and lead the world of technology in e-learning and online training. AR is a technology that is adaptable to 3D content, operating systems and mobile games. Bhadra et al. (2016) described the system ABC3D is a custom-designed augmented reality (AR) mobile game that harnesses the motivating power of interest and the affordances of augmented reality to engage children in practising print-based literacy. ABC3D is bimodal, consisting of 1) a “scanning” mode which allows children to scan drawn letters and view 3D images of content starting with the same letter and 2) a “vehicle” mode which tasks children with collecting objects starting with certain letters as specified by software or instructor. In this project, the researcher chose a widely used, robust visual technique called the Scale Invariant Feature Transformation (SIFT) technique. In this study, several letter templates were compiled and extracted the respective features of each template. The visualisation of the features of a template is shown in Figure 2.9.

Figure 2. 9 Running example of AR (R) and Sift feature visualisation (L) (Bhadra 2016)

The researcher used Unity 3D to create AR software. For image processing, the Vuforia 5 SDK was used. The device camera scans the letter and parses it through the Vuforia text recognition library. The game will then compare the information with a cloud database and retrieve the appropriate item name (such as "tree" for T). After identifying the letter, the next step is to overlay it with the AR element. The Unity 3D game design engine can easily integrate AR components into a mobile interface. As seen in Figure 2.10, the application successfully detected the location of the written letter "T". The previous study illustrated the benefit of AR as a platform to display objects and to help learners to gain extra benefit in education. However, AR requires extra devices, expertise and cost that make it difficult to implement.

### 2.4.2 MOOCs

Another good example related to LMS systems that have been provided in virtual reality ambience is MOOCs. Sammour et al. (2015) described the tool MOOCs (Massive Open Online Courses) as courses made available by MOOC providers on the Internet for self-paced learners who can complete the readings and assessments and get help from a large community of learners through discussions forums. Access to MOOCs can be free; with no prerequisites other than Internet access and interest are formulated and can have certification, different from legal accreditation. Over the past few years, several universities facilitated partnership with MOOCs providers and are building MOOC courses, serving as e-Learning versions of their courses. To help these learners, we propose a solution to take virtual courses in a virtual study program. The connection between using the MOOCs technology and AquaFlux and Epsilon VUM system is that features and functions in VUM environment can be easily adapted to the MOOCs system. Applying VUM system hypothesis in demonstrating tools, topics, features of a device etc. into online training and education or distance learning is a fact that is disclosing on a rapid scale.

### 2.4.3 3D Hologram and Holography

New and advanced technologies such as 3D hologram and holography with AR represent an absolute approach for the VUM research in the future. They can demonstrate the uses and features of the research devices (AquaFlux and Epsilon) in a very naturalistic, stimulating way. Manekiya and Arulmozhivarman (2016) pointed out that VR is an entity which possesses the essence of reality. Holography, telexistence, and telepresence are the same concept as Virtual Reality. The difference is a different point of view of the people which could be created by a computer. However, the concept can be described by three tools known as 3C’s such as “Communication”, “Control” and “Creation” which combinedly describe leading technology. In a separate study, it is important to mention that 3DH (3-Dimensional Hologram) in the field of education is not as popular, but it shows some promising potential with its great visualisation. Barkhaya and Abd Halim (2016) described the 3D hologram as living in a world where technology plays an important role, 3DH is a rapidly growing technology that influences all aspects of our lives including entertainment, digital art, science, healthcare, business, and telecommunication. However, there are only a few research papers published regarding the application of 3DH in education. The hologram is one of the visual tools in the form of a 3DH image, created with holographic projection techniques which are formed by laser light. Holography is a technique on which holograms are displayed where it allows light beams from an object to be recorded before it is reconstructed. There are three types of hologram, which are a reflection, transmission, and computer-generated holograms. Each type of hologram has its characteristic and application depends on what object is going to be displayed. 3DH is recognised as an effective visual tool in education for teaching because of its huge positive effects on the learning environment and teaching and learning process. As a conclusion from the previous two studies, it is noticeable that the use of Holography and 3D Hologram will provide a clear insight into objects, building or anatomy by naturally visualising objects and models. The only downside to adopting such work or project is the required number of technologies to accomplish it in addition to the increased cost as well as the knowledge and expertise required.

### 2.4.4 Virtual Reality Modelling Language (VRML)

VRML is a description language for virtual content utilised to generate 3D objects and rendering effects, the main benefit of using VRML transferring a small size VRML format (WRL). This advantage serves to develop VR real-time capability. VRML can create an interactive and dynamic virtual environment. VRML as described by Ziwar and Elias (2014) that it is a Scalable Vector Graphics generator language which is not too difficult to use. Additionally, VRML can be converted into WebGL standard that allows direct 3D drawings into web browsers. In another project researched by Shen and Zeng (2011) suggested that the combination of using two techniques to create interactive 3D scenes via using VRML and 3ds MAX modelling software is very powerful and it achieves an extremely interactive three-dimensional VR world. The Virtual Hospital System, as described by Dai and Ren (2011), clearly demonstrates the vital role of using VRML in building a virtual hospital available online. Users and medical staff can access the virtual hospital system and check all information related to a specific hospital in VR environment.  This virtual hospital is beneficial to the patient and their families to obtain information regarding their hospital, exploring hospital facilities and the overall design and setup.

### 2.4.5 Extensible 3D (X3D)

It is originated from VRML. And as stated by Abdul-Kader (2011) that X3D is the standard file format for specifying dynamic and interactive 3D virtual worlds on the Internet. One of the most recent applications of VR is e-learning applications, by using this technology, it is possible to get a sense of a 3D environment of such websites equipped with 3D object viewing. For providing immersive environments or virtual classes and labs where users can do the navigation of virtual environment both in 3D and interactive environments, X3D is the standard language for designing such immersive environments. If the HTML language has been developed to design 2D (flat) Web pages, X3D can be used to exchange 3D information over the Internet. X3D is a high-level object-oriented language for the description of scenes and the behaviour of objects. The syntax of X3D is based on nodes and fields, nodes (objects) with fields (parameters). About the importance of nodes - Some nodes are responsible for the design of the scene, such as a description of geometry, illumination of the model, materials, and textures. Abdul-Kader’s (2011) study is specifically concerning virtual classes for distance learning purposes. The method does contain a browser that displays 3D content, as well as users, can interact with it. However, it is designed and built using X3D language. Dynamic controls are also introduced but are limited due to the complexity of the language, which resulted in limitation in the interaction process between users and the system.

### 2.4.6 Open Graphics Library (OpenGL)

Another technology that can be used in producing 3D objects is OpenGL. Yang et al. (2008) described OpenGL (Open Graphics Library) as a standard specification defining a cross-language cross-platform API for writing applications that produce 2D and 3D computer graphics. In Addition, Zeng and Chen (2018) described OpenGL as an extremely strong and essential graphics library that is broadly utilised with 3D scenes and environments.  The recent version of OpenGL 4.4 is fully backed up by popular graphics cards like AMD and Nvidia. Also, OpenGL is always related to the developing process of the Graphical Processing Unit. Li et al. (2016) explained that OpenGL is deployed to design 3D dynamic simulation seas. As OpenGL is used in this work, then geometric modelling is going to be the approach that is followed. The process begins with the creation of plane grids and then creating a 3D grid according to height measures. Then, the grid will be evaluated using the assessing function in OpenGL according to fundamental coordinates. Ultimately, deciding the basic height measures of vertices. Another study conducted by Jian et al. (2010) referred to OpenGL technology as not providing advanced functions on complicated 3D modelling. There are three modelling techniques based on OpenGL, including simple geometry modelling, Non-Uniform Rational B-Spline (NURBS) modelling, and 3D graphics software modelling. From the previous studies, it is noticeable that OpenGL can be used in 3D modelling in a wide range of different fields to produce life-like 3D objects. However, OpenGL has a deeper complex language interface. It is based on geometry and vertices, and it is usually used with other technologies and standards, especially to add interaction to the 3D objects.

## 2.5 Reasons to Select 3ds Max and Adobe Flash CS6

3ds Max and Adobe Flash CS6 are the primary working tools for the project of AquaFlux and Epsilon VUM system. This section briefly outlines the reasons why 3ds Max and Adobe Flash CS6 were selected to carry out this task.

- 3ds Max is one of the most comprehensive, professional and practical 3D modelling applications. It offers the chance to design and create a naturalistic 3D scene for virtual ambience. Yutong et al. (2018) described 3ds Max modelling software as being a 3D vector graphics and animation tool that is scalable, a professional model renderer with less rendering parameters. Additionally, it can be used together with other design or modelling programs to accomplish a variety of results. Kuang and Bai (2018) stated that 3ds Max supports geometry in many forms of and parametric patches or surfaces, vertices/faces, textures for map productions, materials, and animations.

- Bernstein and Wojtan (2013) mentioned that 3ds Max has the capability of allowing the developers to connect directly all geometrical shapes and polygons that form the main mesh. Grouping all modelled objects will speed up the process of adding materials and textures, and it saves time.

- Texturing is a very important process in 3D modelling. Derakhshani et al. (2007) stated that in typical 3D modelling, textures and materials should be applied instantly after creating the needed 3D objects. 3ds Max automatically attributes simple coloured materials to the 3D objects as the developer is building them.

- The viewport is an important feature in 3ds Max. It gives the developer four angles view by default for different views of the model space. Arc (2012) suggested that having such a feature while designing the 3D object and seeing it in multiple viewports will give the designer full control, proficiency and flexibility. The ability to observe the product in four different views throughout the creation process will benefit the final result immensely.

- The animation is another advantage added to the 3ds Max arsenal. Harper (2013) described it as the process of making the developer’s 3D object to animate and set it into motion by selecting the required time for the animation and the exact location of that animation to begin and end with on that timeframe.

- Adobe Flash CS6 is the software that was in charge of adding interactivity to the 3D scene after being imported to Adobe Flash CS6 from 3ds Max. Klein (2012) mentioned that several programs could add Human-Computer-Interaction (HCI) to 3D contents, such as Adobe Flash, HTML 5 and Adobe Acrobat 3D pdf. However, the selection is primarily based on the compatibility of the exported 3D product from the modelling software as well as file size and accessibility. Accordingly, that was the main reason why Adobe Flash version CS6 was selected for the task of adding interactivity to AquaFlux and Epsilon VUM. The imported files from 3ds Max work perfectly well with Adobe Flash CS6. Also, Adobe Flash CS6 will produce effective, compressed SWF files that work extremely well with most of today’s web browsers.

- The main feature used in Adobe Flash CS6 is the ActionScript. ActionScript allows the user to control animated external videos imported from various 3D design programs. As stated by Adobe (2013), it is an essential option available within the ActionScript is behaviours. Behaviours are the pre-written script of ActionScript which allows developers to add code to the stage without coding manually. They can be used to control video playback during runtime. ActionScript video behaviour allows triggering an object to control another object. Video behaviours give the developer the commands of play, stop, rewind, show, and pause animated videos. ActionScript has a built-in feature called button components. These features allow changing the object’s state without defining the look or the behaviour of a button and merely drag and drop button components onto the stage. ActionScript can load external mp3 files used in the VUM audio feature.

Although it is mentioned that both 3ds Max and Adobe Flash CS6 are the main software used in AquaFlux and Epsilon VUM, it is clear that most work is accomplished using 3ds Max (creating, texturing, animating and rendering) while Adobe Flash CS6 used mainly to add interactivity. Another reason for choosing 3ds Max was the availability of a free educational version to download. Also, there are plenty of resources available online for both applications. Compatibility played another crucial part in choosing Adobe Flash. The VUM research is created for online use, and Adobe Flash Player is supported on most of today’s popular web browsers.

## 2.6 Summary

In summary, 3D modelling and 3D design are essential ingredients in any virtual reality project nowadays. Furthermore, it is vital to consider the degree of user interaction in those types of projects. This chapter has covered several popular VR projects available online. Also, it has reviewed several 3D modelling tools and VR contents that have been utilised in the medical sector and E-learning. Online 3D contents and the technologies that have been deployed to present them such as AR, VR, and Holography are becoming extremely common with the availability of supported web browsers that can view them. This field is on the rise in the current Internet era, and the development process of its applications are increasingly upgraded and improved.

# Chapter 3 AquaFlux and Epsilon Measurement Instruments

This chapter introduces a thorough overview of the two research instruments (AquaFlux and Epsilon). AquaFlux and Epsilon are two research devices used in the field of cosmetics. Furthermore, the chapter will point out all parts and components of the two instruments. Additionally, the chapter will briefly mention all the features and functionalities of these tools.

## 3.1 Skin measurement instruments overview:

### 3.1.1 AquaFlux

Aqua Flux is shown below in Figure 3.1, as described by Xu (2015) AquaFlux is a new condenser based, closed chamber tool for “measuring water vapour flux density from arbitrary surfaces, including in-vivo measurements of trans-epidermal water loss (TEWL), skin surface water loss (SSWL) and perspiration. It used a cylindrical measurement chamber, with one end open and attached to the sample surface, and another end closed and cooled down to below freezing point”.

Figure 3.1 AquaFlux (Xu 2015)

The AquaFlux is a benchtop, powered on electricity research device comprising of a hand-held probe unit, a base unit and a USB connection to a computer or a laptop. As it is stated in AquaFlux brochure (2013) that:

“The computer performs all measurement, signal evaluation, displays and storage functions. The AquaFlux is powered by mains electricity and needs to be connected to a computer and requires 15-30-minutes of pre-measurement settling time typically”.

Xiao et al. (2011) described the probe of AquaFlux to be used with all different orientation of surfaces with little effect on sensitivity, given that the probe is held correctly. The main features of the AquaFlux are accuracy, sensitivity, and repeatability. Model AF200 AquaFlux is supplied in a rugged aluminium case, complete with an instruction manual, instrument passport, measurement and calibration accessories, and USB cable. Universal power packs are qualified for medical use.

List of main components:

- Probe

- Parking base

- Universal power pack

- USB cable

- 2 Standard measurement caps

- 2 calibration caps

- Calibration micro syringe (0.5 micro Litre)

- USB flash drive with software & documentation

- Bits & pieces

- Instruction Manual & Instrument Passport

Figure 3.2 AquaFlux and its components in a rugged aluminium case

The software supplied with the instrument runs on a (user-supplied) PC or laptop computer and communicates with the instrument via a real-time USB connection. It is compatible with all current and recent versions of the Windows operating system (XP/Vista/7/8/10). Software updates are free for licensed users. The software provides functions for measurement, calibration, display and storage. All functions are easily reached via buttons, tabs and drop-down menus.

Figure 3.3 Typical screenshot of a TEWL measurement taken in AquaFlux

When AquaFlux measurement is taken as seen in Fig 3.3, the computer screen will display a live flux curve against time measurement. The TEWL values will be decided automatically against user-controlled standard. Data are saved automatically in Excel-compatible file, tab-separated values (tsv) format. The data of each TEWL value, including the flux curves, appear in one row inside the spreadsheet. These flux curves values and measurements are vital for quality control as seen in Fig 3.4 below.

Figure 3.4 Excel document showing TEWL measurements recorded in a file

### 3.1.2 Epsilon

Epsilon instrument as the installation manual (2013) stated that it is a novel instrument for imaging dielectric permittivity (Ԑ) of a wide variety of soft materials, including animal and plant tissues, waxes, fats, gels, liquids, and powders. Its proprietary electronics and signal processing transform the sensor's native non-linear signals into a calibrated permittivity scale for imaging properties such as hydration or recording dynamic processes such as textile wetting or the permeation of liquids through membranes. The system consists of a hand-held probe, a parking base, and an in-vitro stand, securely stored in a purpose-designed case. The system is quick and easy to set up, needing nothing more than a USB connection to a PC or laptop for power and data.

Figure 3.5 Epsilon (Parking stand left, Epsilon instrument parked on it right) (Epsilon manual 2013)

Figure 3.6 Epsilon is supplied in a sturdy plastic case (Epsilon manual 2013)

The in-vitro stand, illustrated below, can be used for measurements on isolated soft solids and liquids. It consists of a base for mounting the probe with its sensor surface horizontal and facing upwards. It has two vertical posts for mounting height-adjustable measurement accessories.

Figure 3.7 Epsilon in-vitro stand is supplied in a sturdy plastic case (Epsilon manual 2013)

The standard in-vitro accessories shown below are machined from pure Acetal. They include hollow donor chambers of 5mm and 8mm internal diameter and a solid pressure plug for studying solid in-vitro materials such as leaves. The central Nylon thumb screw retains these slip into the mounting ring of the accessories holder. There is also a matching lid to minimise evaporation of volatile solvents from the donor chambers.

Figure 3.8 Epsilon standard in-vitro accessorise (Epsilon manual 2013)

The software supplied with the instrument has facilities for live image streaming as well as an image capture in Snapshot, Burst and Video modes. Therefore, Epsilon research instrument can scan human skin via three different means and this functionality will assist in defining a patient’s skin status through a variety of methods with further accurate readings. As described by Al Hashimi and Xiao (2018) the Epsilon device in comparison with other skin medical devices has advanced sensitiveness, advanced repetition and most importantly that any skin measurement procedure conducted is in utter isolation from the outside atmosphere. It saves images in industry-standard formats (tiff & avi) for analysis in third-party image analysis software.

The Epsilon research device uses the contact imaging as a technique for obtaining images.  Epsilon does this by direct contact between the targeted surface and its sensor.  As stated by the Epsilon instrument installation manual (2013) that the device uses a Fujitsu MFB200 fingerprint sensor (Fujitsu Ltd, Japan), and it contains 76800 sensing components organised and set in a four-sided shape (rectangle) calculating 12.8mm x 15mm. The contact surface is covered with a 2µm thick shielding coat of SiO2.  Each sensing component measures 50µm x 50µm and responds to the dielectric permittivity (dielectric constant) of the sample in contact with it. The native sensor response is digitised with 8-bit (0-255) resolution. Additionally, the Epsilon research device can be used for skin hydration measurements. As explained by Biox (2017) the Epsilon user manual that the device can measure skin hydration with far more accurate and precise result than any other single sensor established probe device like the Corneometer. Moreover, Epsilon user manual Biox (2017) mentioned that:

“both the Epsilon and the Corneometer use the same capacitance measurement principle and both have a sensing depth that confines the measurement predominantly to the Stratum Corneum. However, the Epsilon™ has 76800 sensors whereas the Corneometer has one. That’s a game-changer because skin is heterogeneous and skin-sensor contact is variable. The reason why the Epsilon™ can be used for hydration measurement is its unique calibration technology that converts the highly non-linear sensor output into a linear and calibrated response”.

There are at least four reasons why the Epsilon skin hydration measurement is superior to other single-sensor probe devices:

- Hydration assessment: images scanned via Epsilon device can clearly show the hydration distribution on the scanned surface.

- Correction for skin-sensor contact: The Epsilon scanning software has a sophisticated filter that is capable of correcting bad contact between the sensor and the scanned surface.

- Correction for skin surface water

- Time-dependant measurements: The Epsilon system can be practised to examine time-dependent developments by scanning in different modes such as short bursts or long videos.

Figure 3.9 Typical screenshot of Epsilon’s measurement (Epsilon manual 2013)

## 3.2 AquaFlux and Epsilon applications

## 3.2.1 AquaFlux applications

The research instrument AquaFlux has been utilised in the measurement of skin hydration for a long period of time. The Biox lab at London South Bank University is the creator of the AquaFlux research tool. Its stated on the Biox website (2014) that AquaFlux is an advanced, highly sensitive, non-stop measurements, consistent reading device.  Furthermore, it is mentioned that AquaFlux is:

“A TEWL measurement device with a unique patented technology that overcomes challenges of the closed measurement chamber through a condenser that continuously removes water vapour by converting it to ice. AquaFlux out-performs all its competitors in terms of accuracy, sensitivity, repeatability, reproducibility and versatility”.

The Aquaflux research tool can be used in the following application:

- Efficacy and claim support.

- TEWL of skin, lips, nail, …

- In-vivo, in-vitro, in-culture adaptors.

- Membrane integrity testing.

- Medical research.

- Perspiration studies.

- Zoology and animal health.

- Desorption measurements.

Additionally, Murdan, S et al (2008) stated that AquaFlux research device is very well suited to conduct transonycheal water loss (TOWL) measurement for the purposes of recognising the degree of inter-finger, inter-individual, intra-individual, inter-hand, inter-day variability, and the effect of nail wetting, filling and varnishing on TOWL.  It also stated that:

“The condenser-chamber AquaFlux (Biox, UK) was used to measure TOWL. The coupling between the nail plate and the measurement chamber used a Nail Adaptor supplied by Biox. It consists of a short stainless-steel tube fitted with a rubber O-ring for sealing against the nail plate. The tube internal diameter was 3.8mm and the instrumental flux density calibration was adjusted in the software via a Biox-supplied correction factor of 0.542”.

Another study conducted by the Research Excellence Framework (2014), described that AquaFlux medical tool has brought unprecedent benefits to the Biox and London South Bank University respectively by mentioning that:

“the success of the company’s AquaFlux device for measuring aspects of skin barrier performance has, since 2008, resulted in:

- Sales of 148 instruments producing revenues of £1.37 million and net profits of £190k.

- Exports into 15 countries accounting for 82% of the revenues.

- Significant reinvestment (£200k) in new product development.

- 3 new full-time technical level jobs.

Access to AquaFlux has enabled commercial and Rand D organisations, including health care, household product and cosmetic industries to gain better insights into the performance of their products. AquaFlux has been sighted as the gold-standard for Trans-Epidermal Water Loss (TEWL) measurement”.

## 3.2.2 Epsilon applications

The Epsilon research instrument uses the contact imaging technique to capture imaging of different isolated, soft, liquid and, solid surfaces. Epsilon user manual Biox (2017) stated that:

“Epsilon contact imaging system that responds to capacitance. Its proprietary technology maps the sensor’s non-linear response onto a linear scale with a capacitance range from air to water. Its calibration ensures that every pixel in the image provides a reproducible measurement that can be interpreted in terms of hydration. is a novel imaging system for characterising human skin, hair and other materials. Its unique calibration technology enables it to measure properties such as hydration micro-relief and insensible perspiration. The software supplied with the instrument has facilities for live image streaming as well as image capture in Snapshot, Burst and Video modes. A unique image capture feature is Event Triggering, where image capture is delayed until the sensor touches the skin. All images are saved in industry-standard formats (lossless tiff & avi) that are also compatible with third-party software such as Adobe Photoshop”.

Epsilon device applications are:

- Efficacy and claim support.

- Static and dynamic hydration imaging.

- Micro-relief analysis for skin ageing.

- Illustration of skin lesion and sun damage.

- Hair moister assessment.

The Epsilon device can conduct measurement in an in-vivo, ex-vivo, in-vitro, and in-situ modes.

## 3.3 Summary

In summary, this chapter first introduces the skin measurement instruments overview for both devices (AquaFlux and Epsilon). Moreover, it illustrated the major features and functionalities of these tools. Also, described all essential parts and components that are going to be used when these tools are in operation. Finally, it ends with brief description of the research instruments and their most popular applications.

# Chapter 4 3D Modelling of AquaFlux and Epsilon

This chapter introduces and explains a comprehensively the diverse methodologies and technologies that were followed in achieving the main task of this project which was designing an interactive VR environment to demonstrate how AquaFlux and Epsilon operate and illustrate their features and functionalities. Furthermore, the chapter demonstrates the entire development and modelling phase of the research instruments using 3ds Max modelling software and the process of adding links and interactive buttons using the software Adobe Flash CS6. Moreover, the chapter will review how VR is created and surely explaining the main addition to this project is the process of converting the 3D animated scenes of (AquaFlux and Epsilon in Action) into a 360-Degree VR video experience. Finally, the chapter will point out a few obstacles and difficulties that were encountered throughout the process of building the AquaFlux and Epsilon VUM system and how they were resolved. AquaFlux and Epsilon are built and manufactured by the Biox Lab at London South Bank University.

The instruments are going to be demonstrated in a completely virtual environment that will interact with the user. The virtual environment designed in a way to show all features and functionalities of the two instruments (AquaFlux and Epsilon).

The main stages of the project design processes:

- Using 3D modelling software (3ds Max) to create and build the 3D animated content of the VUM system.

- Using 3ds Max modelling software to convert and upgrade the 3D animated scenes of AquaFlux and Epsilon in Action into 360-degree VR video experience.

- Using Adobe Flash CS6 to add all different levels of interactivity, navigational buttons, links and the process of adding audio clips to assist with the displayed illustrative text.

## 4.1 3D modelling of AquaFlux and Epsilon

3D creation and modelling are vital processes in any 3D content presentation. As stated by Caccamo and Cansizoglu (2017), the constructions of 3D objects are the essential components of a successful simulating and mapping system. Furthermore, 3D viewing capabilities are proven to be the core concept in today’s latest applications. Feng et al. (2018) suggested that the usage of 3D modelling objects in safety applications and specifically the ones that used in traffic systems are replacing all of those 2D equivalents due to the shortages of 2D in presenting extremely realistic contents.  Moreover, 3D modelling and especially the 3D imaging system used in the medical field has benefited doctors immensely. As described by Chen and Sun (2017), the utilisation of the 3D imaging system has assisted in analysing patients’ wounds and consequently, conducting surgeries more efficiently.

AquaFlux and Epsilon are two state-of-the-art skin measurement instruments. They both have very similar 3D technical modelling approaches. Therefore, we will briefly explain the steps that led to the outcome. Both devices have a probe, and a base and both are used to measure human skin. Thus, the approach adopted in creating the virtual world was fairly similar in both models, and the steps that have been followed using 3ds Max and Adobe Flash CS6 programs were very similar too.

### 4.1.1 Modelling AquaFlux and Epsilon using 3ds Max

Modelling the AquaFlux and Epsilon instruments: as in any 3D modelling software we have to model the instruments, AquaFlux and Epsilon contain a base part and a probe, on the base part there are few modelling challenges such as cabling input port and buttons that we need to switch left or right in AquaFlux case. The probe and the base have been measured with a real ruler to allow us to design the objects in a very realist shape. In addition to considering some photos or references to capture the right proportion for each object, e.g. how big will be the probe compared to a human hand, all pictures have been provided by the BIOX lab at London South Bank University.

Figure 4. 1 (L) AquaFlux probe measured by a ruler, (R) Epsilon Probe compared to a human hand

Modelling tools menu and options

After the designer evaluates the size and proportion of each object, 3D Studio Max was used to model the two instruments. The modelling tools menu is shown in Figure 4.2 below for AquaFlux and Epsilon:

Figure 4. 2 AquaFlux probe in 3ds Max software showing the Modelling options on the right side

Figure 4. 3 Few rudimentary screenshots for AquaFlux instrument

Figure 4. 4 Different viewports screenshots for AquaFlux instrument during the modelling process

Figure 4. 5 A few rudimentary screenshots for Epsilon instrument

It is possible to insert different object types from the modelling menu such as a Box, Cone, Sphere, Tube, Cylinder, Teapot and Plane as well as we could name each part. As the process of modelling is going along the designer needs to make an actual reference to how the newly modelled object is very close to its realistic original copy by placing the original object picture near the modelled one as shown below:

Figure 4. 6 Epsilon original picture compared to the basic Epsilon model

Figure 4. 7 A few more rudimentary screenshots during the modelling process

Adding materials to the AquaFlux and Epsilon instruments: materials should be planned to suit the object reference if it is realistic enough to meet the client’s needs. Materials are essential components of 3D design in 3ds Max. As stated by Li and Cao (2012), materials can provide a realist feel to the final product of any 3D scene by including all scene critical features such as reflections and shadows. Hence, the choice of the material is then carefully studied so that it will not render too slow and too unrealistic. Materials with high glossiness and reflection will take so much of the rendering time. Without adding materials to modelled objects, results would be unrealistic. Vray materials are used in this project, and the third-party renderer is VRay for the whole project, it is one of the industry-standard renderers for producing professional-looking images.

Figure 4. 8 Materials menu box for AquaFlux (adding materials)

For the Epsilon Probe and other objects, a semi-gloss material with a whitish material is used. With 0.6 glossiness and a subdivision of 20, so that it will not take so much of the rendering time for this object because it is one of the prominent parts of this project. HDRI (High Definition Range Imaging) is used for the background to make it a little bit realistic for the lights and shadow. HDRI is useful to imitate the real-world shadows and lighting that will be projected on the objects. Although HDRI will take more time in rendering, the glossiness and reflectivity of the object are turned a little bit low, and that will compensate on the runtime.

Figure 4. 9 Materials menu box in 3ds Max (L) and Materials added to the probe (R)

After the materials have been finally decided and added considering the time and quality of the project, now is the process to prepare the objects to be animated. That means all objects that can be grouped will be grouped and linked with each other because if any object that has not been grouped and left out, the keyframes related to that object will disappear after this and the object will no longer be animated.

Animating the AquaFlux and Epsilon instruments: animation is the most important and crucial step in the project’s design phase. Nearly a third of the time of the work was spent on animating the objects that were modelled. The planning process of the scenario that each object in the scene and how will it interact with other objects should be determined at an early stage, the motion and the direction of movement that the specified object will go through in our virtual world. It’s a quite time-consuming stage. Unlike character animation, this kind of animation is a bit simpler because it does not need bones and other complex rigging tools. The Pivotal points where all motions begin should also be considered before starting the animation.  During the animation period, the Timeline is set to 1000 frames and 15 frames per second because this project is specifically designed to be used in an online environment. The frames per second are lowered to accommodate the file size of the images that will be rendered for online purposes. Additionally, animating 3D objects using 3ds Max can “permit the users to start and pause the animation at any time to allow static observation” (Pezeshki, Soleimani, Darabi, 2017, p. 111). Using the curve editor to animate objects, by editing the curve points the animated objects can be controlled (speed, timing, and movements).

Figure 4. 10 Using the curve editor in 3ds Max

Figure 4. 11 Shows the red line which indicates adding a keyframe for animation

Figure 4. 12 Adding a keyframe for animating AquaFlux

Rendering AquaFlux and Epsilon instruments: after the processes of animation and setting keyframes from a certain point or number into where we want the object to stop at a specific number is completed. As seen in the previous Figure 4.12, the objects are ready for the final stage of the modelling process, which is rendering, as illustrated in the below Figure 4.13. Rendering in 3ds Max, as described by Yutong et al. (2018) is provided as a complete 3D model rendering and fewer rendering constraints. Accordingly, the designer can relax and watch the frames that are being rendered.  However, at this stage of the work, it is very important to observe how fast and how long each object will take to finish. Each frame is carefully examined to check if it is in the right place (number) and if the objects have the right shadows and lighting. Sometimes objects can be seen floating that are not noticed during the modelling and animating phase.

Figure 4. 13 Rendering menu box, rendering png image sequence for AquaFlux

During Rendering, a small window will appear, rendering every square pixel calculating the objects materials, shadows, light reflections etc. as we can see in Figure 4.14 below.

Figure 4. 14 Rendering every square pixel of Epsilon protective case

Figure 4. 15 Rendering window after all keyframing and file setup is completed

In the rendering menu box, we can choose the rendered image formats, and the images file location, then it is easy to export them into Adobe Flash CS6 to do all the linking afterwards.

### 4.1.2 Adding links and interactivity to AquaFlux and Epsilon using Adobe Flash CS6

Interactivity is a crucial part of AquaFlux and Epsilon virtual world. As described by Hashim (2016), interactivity is an absolute necessity, especially in eHealth applications. Additionally, the availability of user interactivity in the medical sector tends to develop user participation further in that field. Furthermore, Feng et al. (2019) stated that medical groups and societies available on the World Wide Web are increasing at a higher rate, especially in China and the Far East.  Thus, the usage of interactive characteristics in those health communities is the main cause of making this process extremely achievable. Those interactive features or options, as stated by Boy et al. (2016) are usually represented via interactive buttons, hyperlinks and visualised graphical objects that covers wide parts of the web pages.

To add interactivity to both instruments AquaFlux and Epsilon, all image sequences rendered previously in 3ds Max software, were imported into Adobe Flash CS6. According to Purba et al. (2017) that Adobe Flash CS6 has the function of a simple programming language called ActionScript that can be used to add interactivity between any user and a developed system published online. ActionScript can add to the application several interactive commands like hovering, dragging, and clicking. The choice of applying Adobe Flash CS6 to add interactivity to the AquaFlux and Epsilon VUM is for the reason of compatibility. Many web browsers are compatible and work smoothly with Adobe Flash plug-ins and contents. The procedure for implementing the interactive links and buttons are described below:

- Open Flash file with the dimensions of 1920x1080HD in scene 1, everyone collection of motions can be put together into a scene and enable them to interact to achieve its task.

- Import images sequence animation from 3ds Max into the file library.

- Create a new symbol and start to drag images into that symbol frame by frame.

- The image sequence has been exported to Adobe Flash from 3ds Max is being placed on the frames in Adobe Flash, each one on a certain frame point to create something similar to the old method of cartoon flipbook.

- When a new button needs to be created, and that button will stop or end action from occurring, then only an ActionScript need to be added, and it will contain the word stop(), and attach it to the newly created button.

- There are many built-in functions for ActionScript already included in Adobe Flash under global functions submenu such as movie clip control functions, timeline control, browse and printing control.

- For example, under timeline control, there will be found common functions such as (play, stop and goto).

- If any created button that contains a script attached to it needed to be used with its functionality in a different location, then a new layer has to be created in a new scene. Then copy and paste that button into the newly created layer, and the new layer will have the exact function of the original button.

The next few Figures below 4.16-4.24 will display a few screenshots taken while adding the interactivity functions and buttons to both instruments as well as adding all the voice clips that will play along (synchronisation) at the same time as displaying the illustrative text.

Figure 4. 16 Importing png image sequences into a new Flash scene frame by frame

Figure 4. 17 Adjusting image sequence frame by frame for AquaFlux

Figure 4. 18 Adding ActionScript into a scene

Figure 4. 19 Adding ActionScript into a scene for the action STOP

Figure 4. 20 Adding voice recorded in mp3 format into a scene Epsilon

Figure 4. 21 Syncing a voice clip with the illustrative text in Epsilon scene

Figure 4. 22 Creating a new symbol for the voice clip in Epsilon scene

Figure 4. 23 Syncing the voice clip with the text frame in the Epsilon scene

Figure 4. 24 Sample of ActionScript code for linking the button to play, replay and stop the voice clip

The above steps can be repeated to all objects that need to be linked and interact with the user in an online virtual environment via buttons in Adobe Flash CS6. Finally, after completing all linking and adding interactivity in Adobe Flash CS6, one final step remains which is the process of exporting the files in SWF format into HTML. The steps are illustrated in Figure 4.25 below:

Figure 4. 25 Exporting SWF and HTML files from Adobe Flash CS6

## 4.2 How Virtual Reality (VR) is created

Virtual Reality (VR) is a second world (simulated environment) accessed by various users, and it resembles our world in most of its characteristics depending on what is required from that virtual world to present. As stated by Fribourg et al. (2018), VR shared users’ interaction is on the rise in the current Internet era. The purpose of this collective, collaborative work is to enable users to experience full VR immersive environment. In addition to the users’ shared experiences mentioned previously, users in virtual worlds can be presented by avatars or walkthrough scenes to conduct a variety of activities. Esmaeili et al. (2017) suggested that deploying avatars in immersed VR walkthroughs is going to reduce the uncertainty in transferring the silent knowledge displayed in VR worlds.

There are two methods to create a virtual reality environment:

- Using a 360-degree video: according to Rossi et al. (2019), this VR approach is going to provide users with 360 degrees of freedom of movement in the virtual world. The user will be placed in the centre of the virtual scene and will have the ability to navigate through it along with rotating and zooming in and out on a variety of objects that the VR scene contains. Additionally, users need to use a head-mounted display unit or an HMD to allow them to experience the virtual walkthrough such as Oculus Rift and HTC Vive used for online purposes in Internet browsers. These VR systems are mostly non-directional videos.  Furthermore, this 360 VR experience is becoming ever so popular in the current era as stated by Prins et al. (2018) since it provides users with a new level of VR immersion and different level of virtual interactivity.

This method is easier to implement than the second one below, as you can record real-life video footage and use that footage in building the virtual content. This method needs another device at later stages to view the virtual 3D content, HMD (Head Mounted Display) unit like the Oculus Rift VR, Samsung Gear VR, Odyssey and many more. With this HMD unit, users can experience the new world of computer simulated reality that imitates physical existence in the actual world.

- Using 3D animation: animating a 3D scene and then applying it in a virtual environment presents an extremely realistic product with a wide range of functions, features and an excellent level of user interaction.  3D content animating, as defined by Vogel et al. (2018) is the process of animation using keyframes functionality in 3D modelling software that provides 3D designers with plenty of control of the 3D scene. Nevertheless, this procedure is very complex and tiresome to implement. Thus, this method, in a nutshell, is when all selected objects are built using a 3D modelling software such as 3ds Max, Blender, Maya and many more. The 3D animating approach is more costly as it requires more tools and software to be involved in the creations, design and development processes. Besides, it requires the expertise to develop, create, animate, render and subsequently publish the product online, and for that reason, it is a time-consuming procedure. Another way of creating VR is via using game engine packages such as Unity; which is mainly used for creating and developing games.

It is apparent that the utilisation of virtual reality technology combined with 3D content design has become more popular nowadays. There is a lot of demand in this era to use this technology, especially in online services and online applications. Immersive VR technology, as described by He et al. (2017), has become so popular in several online training services such as MOOC and other learning systems. Especially when used with Head Mounted Display units like the Oculus Rift HMD. Moreover, as stated by Takala and Matveinen (2014), immersive VR plays an important role in marketing and presenting extremely realistic games in the entertainment industry. VR technology can be used in presenting full-body avatar controllers with the HMD unit. Furthermore, according to DeYoung et al. (2018) that the importance of using those HMD units lies in them being users’ controllers. As all navigation, directions, walkthrough, interaction etc. are embedded in them.

Currently, the use of VR technology is covering some essential fields of human life. VR is involved in a variety of sectors such as education, health, tourism, business, entertainment and military. In a few years, VR could easily cover a wider range of human life’s sectors and areas.

Regarding the creation and development process of AquaFlux and Epsilon VUM system, the two methods were involved in it. At the early stages of building the VUM system, the chosen method was 3D animation and Adobe Flash CS6. The process contains the selection of a suitable 3D modelling package to design, create, develop, animate and render every object that is going to be displayed in all the VUM scenes. The whole modelling, animating, and rendering processes are done using 3ds Max modelling software as described in section 4.1.1 of this chapter. Then Adobe Flash CS6 is used to add interactivity. This method is achieved by creating interactive buttons and illustrative audio clips (saved in mp3 format) and placing them into the 3D contents as described in details in section 4.1.2 of this chapter. After the completion of the 3D animation and Adobe Flash CS6 processes, there was a need to upgrade the AquaFlux and Epsilon VUM system into a real virtual experience. A VR experience that will make users fully immersed in it.

To accomplish that, it was necessary to upgrade part of the VUM system to the 360-degree VR video of the devices’ operational precoder (AquaFlux and Epsilon in Action). This VUM project contains two main web pages, one designed for AquaFlux instrument, and the second web page is designed for Epsilon instrument. Both web-pages inner contents (links) are quite similar to each other in functionalities and performances. Therefore, the upgrade to VR experience is carried out to one link in both web pages only. That link presents the content of both instruments while they are in action, performing human skin measurements. It would be a great opportunity for all users, clients and trainees to experience the two devices (AquaFlux and Epsilon) performing a complete realistic performance in VR experience. By following that approach, it would contribute immensely in the process of marketing and promoting these two instruments internationally.

For that reason, the first virtual reality creation concept the 360-degree video was deployed. The VR 360-degree video process, as stated by Viitanen et al. (2018), is essential to illustrate online content further. Especially in the gaming and entertainment industry combined with the usage of HMD units. Additionally, as explained by Patel and Sakadasariya (2018), VR technology usages in our present time are passing through three stages, existing stage, transitional stage and ultimate stage. The existing stage consists of using an avatar, 360 degrees VR, HMD units. The transitional stage is when all these technologies invented in the first stage start developing and upgrading into better technologies and more sophisticated. Finally, in the perfect or the ultimate stage, users will not be able to feel the distinction between a virtual environment and the real life. Furthermore, as described by Duanmu et al. (2018) that in 360-degree videos, only a specific segment of the view of the VR environment can be displayed by the user. In 360-degree videos, users will have the excitement and the motivation to discover and walk around the rest of the scene. As a result of such a feature existing in 360-degree video, it has currently become very trendy to deploy it in education and online training. AlAwadhi et al. (2017) stated that in education and online training, 360-degree videos demonstrations in VR worlds played a major role in assisting and simplifying experimentation. It is one of the best current technologies available to illustrate and deliver practical knowledge through a whole new dimension. From all previously described benefits and advantages to using such technology in online demonstrations and training. It would be of great assistance in marketing and promoting AquaFlux and Epsilon research instruments globally. Users, trainees, and clients are going to witness and experience the real beneficial knowledge of how these two devices operate and function in a 360-degree VR environment. Additionally, it has been recognised that 360 VR video is currently a novel trending approach utilised in the field of VR for conveying information and guiding users to comprehend and accomplish a variety of tasks.

### 4.2.1 AquaFlux and Epsilon 360-Degree VR video creation

In this process, it is required to use the main and original 3ds Max file created while modelling AquaFlux and Epsilon at the early stages of the 3D modelling process of the VUM system. The same 3D file (3ds Max scene file format) is taken and used to be upgraded into 360-Degree VR video. Similar to the early stages of 3D modelling, the 3D scene of AquaFlux and Epsilon operating in a clinic is needed to be used in the 360-Degree VR video. This specific 3D file is going through the animation process but this time for the 360 VR video. In 360-degree VR video positioning, a camera point has to be created for that animation. A newly physical camera is needed for the 360 scenes, and it has to be placed in a suitable position or location. Furthermore, the animation process will begin via using the keyframe animation, as seen in Figures 4.26 and 4.27 below. Keyframe animation by default starts at keyframe zero, all the way to 100 frames to work with, and this keyframe scale can be increased to a bigger number of frames as desired from the time configuration menu. Keyframing helps in the process of arranging how the scene is going to be animated (in what order). Making sure to turn the Autokey on, Autokey is a feature that assists in the process of filling all frames in between all the keys that are set during the animation of a 3D object. After that, it is required to enter the camera view to see how objects look like from within the 3D scene. From the render setting - Vray - camera view settings, it is possible to select a variety of camera views. For 360-degree VR video, it is recommended to select view type of spherical panorama override FOV: 360 vertical FOV: 180. Regarding the screen resolution to display a 360 view, the width needs to be set twice the height. The final step is to make sure that the output path of the rendered files is set before the rendering process is initiated.

Figure 4. 26 The animation process of AquaFlux for the 360-Degree VR video using 3ds Max software

Figure 4. 27 The animation process of Epsilon for the 360-Degree VR video using 3ds Max software

Occasionally, some objects animated in 3ds Max starting to move at different speed level (accelerate and decelerate) during their animation. This change of speed can be cleaned and fixed using the curve editor menu. The curve editor menu is used to adjust 3D objects speed during the animation process, as seen in Figures 4.28 and 4.29 below for AquaFlux and Epsilon, respectively. This problem can be fixed by replacing the curvy line of each animated object with a liner line instead, and in doing so, it keeps moving the animated object at a constant velocity rather than the acceleration and the deceleration of the animated object. This process has to be checked on all 3D objects axis (X, Y and Z).

Figure 4. 28 Using the curve editor for cleaning the animation of AquaFlux in 3ds Max software

Figure 4. 29 Using the curve editor for cleaning the animation of Epsilon in 3ds Max software

When adding materials for the AquaFlux and Epsilon 360-Degree VR video, the material editor has been used instead of the single object colour menu box. The object colour menu box has too few varieties of colours. Additionally, it lacks the availability of real-life material colours, textures, pictures or custom glow colours. Therefore, using the 3ds Max material editor menu is going to be the perfect feature to achieve that. The 3ds Max material box can be opened by pressing on the M key on the keyboard as seen in Figures 4.30 and 4.31 below.

Figure 4. 30 Using the material editor box for AquaFlux 360-degree VR in 3ds Max software

Figure 4. 31 Using the material editor box for Epsilon 360-degree VR in 3ds Max software

Using the material editor box is the perfect way of applying any object colour, appearance and design to the materials being used. Objects used in 3D scenes can have different appearances, they can look like plastic, metal or any normal colours. Furthermore, it is possible to change the colours of the selected material of your object. The developer can select the material to the 3D object and gradually applying several colours to it through using the ambient colour options. Also, the designer can copy an object’s colour material into another object by simply dragging the coloured object and dropping it over a new uncoloured one. Other options can be accessed while adding material in the process of giving names to your selected materials.  Moreover, 3ds Max modelling software has its built-in materials. Those built-in materials can be accessed simply by clicking on the materials/map browser. Finally, when materials are selected and completed, it is now time to apply those materials. Applying selected materials into a certain 3D object can be done via clicking on (Assign Material to Selection) option or alternatively by simply highlighting the selected material then dragging and dropping it over the 3D object in the scene. Besides all the specific materials that can be made and applied by the designer, there is a material option box that has several materials choices which are self-explanatory as you can see in Figure 4.32.

Figure 4. 32 Using the material option box in 3ds Max software

If at any point during the project, the designer makes a mistake with certain material then it is always possible to go back and click on the reset option in the reset map material to reset the material of the selected 3D object to default settings.

The process of lighting in AquaFlux and Epsilon 360-degree VR video is essential. In 3ds Max, we have three different types of lights that can be used in a scene Photometric light, Standard light, and Vray light. Photometric light is more used in producing a photo like a 3D scene. Photometric light works differently to standard light, especially when rendered they produce more photo like, bright, uncontrollable contrast of colours and that is due to the high intensity these lights have, and they do require different types of atmosphere like fog, fire effect, volume light etc. Figure 4.33 below shows some light options in 3ds Max.

Figure 4. 33 Different type of light and light effects in 3ds Max

Not using a suitable type of light in any 3D scene will result in a lifeless, dull scene that has no shadows. Once the designer selects a suitable type of light and the perfect camera viewpoint, he/she can go to the shadow’s menu and tick the shadow option, and that would result in a more realistic, lifelike 3D scene. Besides adding light and shadow, designers are always able to control the colour intensity of the scene to make it darker, brighter etc. Furthermore, 3D designers can add advance light effects like adding contrast or softening the edges of the scene to make it look rounder and more flexible. There are so many other lights options that can assist in the process of producing a very professional, sophisticated 3D product. Some of these options are adding atmospheric effects. Atmospheric effects contain lens effects in which enable us to add different type of effects to the scene, such as glowing light, starlight, ray light, and many more. Another type of standard light is the free spotlight, this light can be placed directly into the scene, and it looks just like a spotlight coming down from the sky. Also, there are several types of light positioning available to use, like directional light, Omni light, and spotlight. Directional light is one of the common types of positioning used in lighting in 3D scenes. This type of light positioning is used a lot to stimulate the light that comes out of the sun.

Additionally, there is a skylight which is used to provide 3D scenes with more cartoonish effects rather than real ones. The light menu in 3ds Max is so vast and full of main and sub-options that enable any 3D designer to obtain the desired scene they want to display in their 3D content, it takes a lot of time, effort, and skill to master and to be fully knowledgeable on how to utilise it optimally. In AquaFlux and Epsilon 360-degree VR video, VRay lights have been applied. VRay plug-in in 3ds Max software comes as a complete package of VRay light, VRay material, VRay camera and of course VRay renderer. However, using what type of lighting with the 3D scene, it is entirely up to the designer to decide. VRay light has a more realistic feel to it with VRay rendering, and it produces a more natural and realistic content.

Additionally, VRay light is designed to work very smoothly with VRay materials and the VRay renderer. Moreover, VRay shadow control options are more detailed and specific for individual scenes, whereas standard light control shadows have only two options. There are other types of VRay lights. VRay sun is used when there is no background in the 3D scene as it provides the scene with a brighter background sky colour. VRay IES is another type of VRay lights, VRay IES is more used for specific items and objects in your 3D scene as it suites to be used in a photometric environment where you can control the textures, colour mode and colours’ intensity. VRay ambient light is mainly used if you have dark corners in your scene as you can control the intensity of dark corners to brighten them up if required. Figures 4.34 and 4.35 below demonstrate the process of applying VRay light into AquaFlux and Epsilon devices, respectively.

Figure 4. 34 Applying VRay light for AquaFlux in 3ds Max

Figure 4. 35 Applying VRay light setting for Epsilon in 3ds Max

VRay rendering plug-in is required to render 360-degree video. The most important part before starting to render any 360 videos is setting up and positioning the scene’s cameras. Three cameras are used in AquaFlux and Epsilon 360-degree scenes individually. When setting cameras in 360 videos, it is important to rotate the cameras, and they need to be placed in a way that all cameras deployed are focusing on the main objects of the scene. Additionally, it is important to instruct the camera to grab or focus on the targeted object and everything around it. To do that the designer has to open the rendering set up and select VRay then press on the VRay tab. Under the VRay tab, click on the camera option and change the camera default value to spherical. This option will enable the camera to observe everything in the sphere. The Override FOV (Field Of View) value should be changed into 360 degrees. The output size of the rendering setting of the camera has to be changed in a way that width is always double the value of the height as it is a 360 view (HDTV 6000x3000 or 4000x2000). In Figures 4.36, 4.37, and 4.38 below show the process of setting cameras for AquaFlux and Epsilon 360 video scenes, respectively.

Figure 4. 36 Camera setting for AquaFlux 360 degree video in 3ds Max

Figure 4. 37 Camera setting for AquaFlux 360-degree video in 3ds Max

Figure 4. 38 Camera setting for Epsilon 360-degree video in 3ds Max

3D designers of 360-degree videos need more than one camera position with 360 renders, zoom in into the centre of the room. Create a physical camera in the centre of the room. Set the camera view into the viewport. Pan the view to up the camera into eye level. Panorama rendering works with six different directions or positions (left, right, front, back, up and down). From that point, the six positions need to be connected into a spherical panorama. Once all camera settings are completed, it is time to begin the process of rendering. Rendering could take a huge amount of time, especially if the designer is rendering for a high quality, slow motion 360-degree video. The rendering of AquaFlux and Epsilon 360-degree video is based on 300 frames a second. Because the machine that has been used is not of high quality in regard to CPU speed and the size of the RAM it took 6 minutes to render one frame. Because it is a 360 VRay render that calculates one view of 6000 resolution, high resolution means it is better quality, but more frames to render. Therefore, to render 300 frames for 6 minutes each frame that will be 1800 minutes the total time to render one scene only. Thirty hours rendering time for one complete video. The resolution used in AquaFlux and Epsilon 360-degree video was HDTV type of resolution of the value 1920x1080. Figure 4.39 below shows the saving path of the rendered file.

Figure 4. 39 Rendered file saved for AquaFlux 360-degree video in 3ds Max

Figures 4.40, 4.41 show the rendering settings of AquaFlux and Epsilon 360-degree video, respectively.

Figure 4. 40 Rendered settings of AquaFlux 360-degree video in 3ds Max

Figure 4. 41 Rendered settings of Epsilon 360-degree video in 3ds Max

After selecting the appropriate path for saving the rendered file, the designer can click at the render button to begin rendering the 360-degree video.  Figure 4.42 below demonstrates the progress of the rendering process

Figure 4. 42 The progress of the rendering of AquaFlux 360-degree video in 3ds Max

Once the rendering is complete, the 360-degree video will become ready to play. The output video format is mp4 as it is compatible with most modern-day applications. Furthermore, this type of video format is compatible with online web pages. The script that has been used to make the AquaFlux and Epsilon 360-degree video compatible with most browsers like Microsoft Edge, Chrome and Firefox are downloaded from a website called Valiant360. Once this script is downloaded and ran it through the script option in 3ds Max, it will enable AquaFlux and Epsilon 360 video to be played on most current web browsers that have the technology of WebGL. Moreover, attaching this JavaScript file to the 360 videos will enable it to open in most WebGL support browsers without the need to download a third-party plug-in like blender or Unity.

Figure 4. 43 The JavaScript file downloaded to be attached: as a script with the 360-degree video

## 4.3 Obstacles and difficulties faced during the work

During the processes of modelling, linking, and adding interactivity to all objects, the project faced a few obstacles and problems. Some of those occurred during the 3D modelling process were simply vertices appeared not in their appropriate locations and resulted in objects being deformed. By carefully checking each object (object Isolation) deformed objects caused by the wrong vertex position may be rectified to avoid re-rendering.

Figure 4. 44 Shows wrong vertices during the modelling process of Epsilon in 3ds Max

Setting the camera location is incredibly essential during the modelling stage to move, direct, and position the camera around the 3D animated object to produce the best angle and scene that the viewer can see. Camera animations sometimes falter because of the vertices that are not positioned correctly by the animated path selected for the specific 3D object to move in. Camera movement cannot continue to the desired action. The shape of the camera path, the line of the camera route as shown in the Figure 4.45 should be accurately positioned in XYZ view, to the camera movement to take place in a flexible, correct and smooth manner.

Figure 4. 45 Camera route is being rectified and checked during the modelling process in 3ds Max

The computer’s rendering capacity is another huge factor to consider before starting the 3D animation process. The CPU and RAM usages should be monitored during the 3D animation to avoid unnecessary crashing of the 3ds Max software. As seen in Figure 4.46 during the rendering process, the CPU and RAM usages were pushed to the limit, which is why other running applications must be stopped and closed. Leaving 3ds Max software is the only running program, and no other activities should be carried on during the process of rendering.

Figure 4. 46  Monitoring the RAM and CPU usage during rendering in 3ds Max

Constantly and increasingly, the process of saving completed files is of great help to avoid repeating the process, as shown in Figure 4.47.

Figure 4. 47 Saving the updated version of the working file

Adobe Flash CS6 problems that the project faced during the process of linking and adding interactivity to the objects.

- Recorded audio clips quality problem: Adobe Audition is used to fix that. Open Adobe Audition, on the file menu, chooses Import>File a dialogue box opens, locate your audio clip then click Open. Now the selected audio clip is displayed in the Timeline. In Window menu select Effects Rack, from the Presets select Podcast Voice then click Apply button. Now the selected audio clip is enhanced. To save the enhanced audio clip go to File>Save As then choose. MP3 as file format then click Save.

- Syncing problems between audio clips and illustrative text: for this issue, it just needs to adjust the delay function on the ActionScript for the audio clip to sync with the animation clip. It is a matter of trial and error until all clips are synced.

- Too big image sequence files, large file size not recommended to be used online: this problem came to the surface during the interactivity that was added to AquaFlux, but after some Adobe Flash CS6 research the problem was avoided during the design process of Epsilon. The solution was to convert those large image sequences into a video. Adobe After Effects is used for that. First open After Effects on file menu create a new project then once a composition created, open file menu then imports those image sequences. Once imported on the timeline, now they are ready to be converted into a video. Go to composition menu then click Add to Render Queue a dialogue box will open, now select.MOV format from the filename to convert it as movie clip then use that movie clip in Adobe Flash CS6.

Other Flash problem was the security settings that restrict flash from operating on other Internet browsers. This security restriction is not a massive and un-repairable complication. Unfortunately, with advancements and new technology trends come some types of vulnerabilities. Adobe Flash Player is one of the most popular web browsers plug-ins that assist in the process of displaying animation, 3D content, VR, video, and many more interactive contents in our web pages. There are some popular files format such as SWF and FLV that are created in Adobe Flash that might contain some security defects, and therefore they can be blocked. Consequently, before running the AquaFlux and Epsilon VUM system, it is required to go through certain steps of Adobe Flash player settings. Following those global security settings will allow any flash files specified by the user to be allowed to run on that corresponding browser like Microsoft Edge, Chrome etc. Those settings are required to be adjusted once and then the browser will be compatible with all defined Flash files paths whether from specific files or folders. The below Figure 4.48 shows the Macromedia (Adobe Flash official website) required flash security settings.

Figure 4. 48 Adobe Flash Player security settings on the Macromedia website

There are some minor VRay difficulties faced during the rendering process, and those were mainly due to the lack of using an advanced PC system with the high specification for fast and uninterrupted rendering sessions. Additionally, the rendering process has faced some complications while deciding how many frames should be rendered. The more frames to render, the longer the process took with the advantage of obtaining a high-quality 360-degree video scene. For AquaFlux and Epsilon 360 degree video, this element has been considered, and that is why only a small portion of the project has been designated to be upgraded and converted into a 360-degree video to produce high-quality scenes.

## 4.4 Summary

In summary, this chapter describes the AquaFlux and Epsilon practical approaches deployed to achieve its task of building the VUM system. That includes designing AquaFlux and Epsilon using 3ds Max modelling software and adding buttons, links, and all forms of interactivity to the objects of AquaFlux and Epsilon using Adobe Flash CS6 software. Virtual reality is briefly defined and illustrated. The methods for creating a virtual world are listed, and major sectors that VR can be involved in are also mentioned. The main and newly added method of upgrading AquaFlux and Epsilon VUM system and how they operate in 360 degrees VR video are also explained. Discussing the two main approaches of designing the VUM system, 3D modelling and animation, as well as the 360-degree video rendering, are included and reviewing the main obstacles and problems that this project had faced during the practical phase and how they have been resolved.

# Chapter 5 AquaFlux and Epsilon VUM Systems

This chapter shows the results and comprehensive analysis of using the interactive Virtual User Manual (VUM) systems of AquaFlux and Epsilon. Furthermore, it illustrates all steps that explain how the interactive virtual world works for both instruments. Moreover, a full usability study is conducted to deeply analyse the results and the feedback collected from multiple users who tested the VUM of AquaFlux and Epsilon practically and participated in the given survey. Finally, the chapter ends with a comparability study that displays a real and effective comparison between the demonstration and usage of the actual AquaFlux and Epsilon tools and the VUM system.

## 5.1 AquaFlux Interactive Virtual User Manual System

AquaFlux interactive Virtual User Manual (VUM - URL: http://www.aqua-flux.co.uk) is a fully interactive website that is going to show all functions, features, characteristics of the AquaFlux skin research instruments. Moreover, the system is going to demonstrate the sample skin measurement process taken from a patient in 3D animation mode and 360-Degree VR video mode. The below Figures 5.1, 5.2, 5.3, 5.4, 5.5 and 5.6 show some of the steps of how to use the AquaFlux VUM system.

Figure 5. 1 The main AquaFlux interactive user manual website contains three buttons (links)

By clicking on the button labelled Aquaflux in Action, it is going to present a sample conducted measurement process taken on a patient at a clinic. The sample measurement process is shown in two modes, 3D animated mode and 360-Degree VR video mode. Figure 5.2 below shows the two modes screen presented in two navigational buttons.

Figure 5. 2 The two modes screen presented in two navigational buttons (yellow colour) for AquaFlux instrument. Left button for 360-Degree VR video, Right button for 3D animation mode

The 3D animated mode can be executed via two links, by clicking on the button on the right that says AquaFlux operating in 3D animation. This link will activate the 3D animation mode as well as clicking on the AquaFlux probe itself.

Figure 5. 3 Shows AquaFlux seated in its base, waiting for a user to click on the interactive probe

Figure 5. 4 AquaFlux in action, moving from its base into a patient forearm for a sample measurement

After clicking on the link in Figure 5.2, or the probe in Figure 5.3, the AquaFlux probe will move towards the patient’s forearm to conduct the sample skin measurement, by placing its head that has a sensory cap into the patient’s skin.

Figure 5. 5 The monitor shows measurement results, with other links and user’s options

After clicking on the view results link (top right corner), the reading of the conducted measurement process will show on the screen with an accurate reading of human’s forearm. A user, a trainee or a client also has another option to take a second measurement (top left corner) or to exit to the main page via the exit button (bottom right corner).

The second button in the far left bottom corner of the main page of AquaFlux VUM system (AquaFlux operating in 360-Degree VR) is the link that will activate the 360-degree VR video. By clicking on that button, the 360-degree panoramic video will start playing for a scene of AquaFlux device conducting skin measurement to a patient in the clinic. Figures 5.6, 5.7, 5.8, 5.9, 5.10, and 5.11 show all different angles for the 360-degree VR video while AquaFlux is in operation.

Figure 5. 6 The AquaFlux 360-degree VR video in action

Figure 5. 7 The AquaFlux 360-degree VR video in a different angle while conducting measurement

Figure 5. 8 The AquaFlux probe back in its base after conducting a measurement, reading of the measurement in the background is displayed on the clinic's monitor

Figure 5. 9 The AquaFlux 360-degree VR video in action from a different angle

Figure 5. 10 The AquaFlux 360-degree VR video in action from a different angle

Figure 5. 11 The AquaFlux 360-degree VR video in action from a different angle

All previous figures, 5.6 - 5.11, displayed the AquaFlux research instrument conducting a life-like skin measurement process by placing the AquaFlux probe on the patient’s skin. While this process is occurring, the user can rotate all around the clinic in 360 degrees to view it fully as he/she is sitting in the clinic in real life. That is the special feature of using 360-degree VR videos.

Figure 5. 12 The 2nd option (link) on the main page to view the VUM (Virtual User Manual)

From the main page, clicking on the 2nd option takes the user into the AquaFlux Virtual User Manual (VUM) page. From here, users can click on the VUM (top right corner) link to view AquaFlux setting up process, calibration, caps, AC adaptors, connectors, probe parking, holding the probe, software familiarisation all in which were briefly described and explained. As well as the process of how a user can fit and slide the probe into the parking base and an explanation of the AquaFlux rear panel unit. In summary, it explains and demonstrates how a new user can use the device efficiently as testing it in real life.

Figure 5. 13 AquaFlux components illustrated in the protective case

In Figure 5.13, once the mouse is placed (hovering) over one of the other six black navigation buttons (links), it will pop up that specific part and rotate it in 3D mode, this way of display gives a chance to the new trainee or user to know all the correct names of the components of the AquaFlux device.

Figure 5. 14 Clicking on the VUM menu, other links and background becomes blurry

The drop-down menu of the VUM (Virtual User Manual) after being clicked on, shown in Figure 5.14 in the previous page.

Figure 5. 15 Clicking on one of the options in the VUM menu (probe)

In Figure 5.15, the user clicked on the probe item in the VUM’s drop-down menu, resulting in displaying a popup window to the right explaining or mentioning brief information and description of the AquaFlux’s probe with little details written in the footer of the page. Additionally, users can repeat the step by clicking on the repeat button (bottom right corner). All other options of the VUM menu are displayed and illustrated in the same manner, following a similar illustrative path. All the components of AquaFlux instrument are shown in a 3D way. To go back, users need to click on the [CLOSE] link at the bottom of the drop-down menu first then clicking on the link back to the home page to get back to the home page of the VUM system.

The third and final button in the AquFlux VUM system is (AquaFlux Holder and Futuristic design). This button contains the futuristic concepts of the research device AquaFlux. This futuristic concept (2 versions) is built based on the original AquaFlux instrument. It is upgraded to enhance the way AquaFlux operate in the future. AquaFlux new holder is invented to improve how AquaFlux device works and function. All futuristic designs and the new holder are approved by the Biox lab at London South Bank University. Figure 5.16 below shows the page that appears after clicking on the third button of the AquaFlux VUM system.

Figure 5. 16 After clicking on the 3rd button of AquaFlux VUM system. Three main buttons appear (AquaFlux new holder, AquaFlux Futuristic design, and AquaFlux futuristic design 2)

The contents of the last and third button of the VUM system are self-explanatory. It contains three main navigational buttons (AquaFlux new holder, AquaFlux futuristic design, and AquaFlux futuristic design 2). Each one of these buttons will open a 3D animated content of the AquaFlux newly invented holder, AquaFlux first concept design, and AquaFlux concept design 2. The two red arrows are part of an old design (link) to show the AquaFlux device place on the table in the background in 3D mode, where users can click on the arrows (Left, Right) to rotate around the 3D object from the left and the right side. Figures 5.17, 5.18, and 5.19 below demonstrate the content of each button.

Figure 5. 17 After clicking on AquaFlux new holder navigational button

After clicking on the AquaFlux new holder button (link), it will play a 3D animated video of AquaFlux device inserted into a holder wrapped around the patient’s leg (shin). The holder strap is wide enough to provide full bearing support to the inserted device. Furthermore, the tip of the plastic holder is made of a magnetic material (magnetic surface) to attract and provide a strong grip to the inserted head of the AquaFlux device. This method is going to ensure stability, and provide an accurate reading while conducting the skin measurement process.  The strap that is deployed to be wrapped around the patient’s leg can also be used on any other patient’s body part (upper forearm, lower forearm, neck, etc.). It is made of a flexible material (fabric).

The second button under the third link of the VUM system (AquaFlux futuristic design) contains another 3D animated video of a newly invented futuristic concept of the research device AquaFlux. This concept design of AquaFlux has a rotatable head that can rotate in 360 degrees. This futuristic design is going to enable AquaFlux to perform skin measurement for difficult spots of human’s skin. It is going to enable AquaFlux to reach some unreachable spots and provide flexibility to the user.

Figure 5. 18 After clicking on AquaFlux futuristic design button

The last button under the third link of the VUM system (AquaFlux futuristic design 2) contains another 3D animated video of a second futuristic design for the device AquaFlux. This futuristic concept is called the AquaFlux band. It is made of a soft fabric material that can be strapped around most of the patient’s body parts. It contains a scanning sensor that can be placed on the human’s skin to perform skin measurement. Additionally, this newly invented futuristic concept can operate wirelessly to provide the convenience of having multiple cables running around. Figures 5.19 and 5.20 below demonstrate the AquaFlux band. The band also has a sticky strap for applying a firm and strong grip for the band around any body part for an accurate measurement process.

Figure 5. 19 After clicking on AquaFlux futuristic design2 button

Figure 5. 20 The AquaFlux futuristic design2, the AquaFlux band

The last two white buttons under futuristic design and futuristic design 2 are quite straight forward. One is to replay the 3D animated video for each concept design and the second one is to exit to the AquaFlux VUM main page.

## 5.2 Epsilon Interactive Virtual User Manual System

Epsilon interactive Virtual User Manual (VUM – URL: http://www.biox-epsilon.co.uk) is a fully interactive website that is going to show all functions, features, characteristics of the Epsilon skin research instrument. Moreover, the system is going to demonstrate the sample skin measurement process taken from a patient in 3D animation mode and 360-Degree VR video mode. The below Figures 5.21, 5.22, 5.23, 5.24 show some of the steps of how to use the Epsilon VUM system.

Figure 5. 21 The main Epsilon interactive user manual website contains three buttons (links)

Figure 5. 22 The two modes screen presented in two navigational buttons (yellow colour) for Epsilon instrument. Left button for 360-Degree VR video, Right button for 3D animation mode

The 3D animated mode of the Epsilon device can be executed via two links, by clicking on the button on the right that says Epsilon operating in 3D animation. This link will activate the 3D animation mode as well as clicking on the Epsilon probe itself.

Figure 5. 23 Shows Epsilon seated in its base, waiting for a user to click on the interactive probe

Figure 5. 24 Epsilon in action, Epsilon probe is moving towards the patient’s hand

After clicking on the Epsilon probe, in Figure 5.24, the probe will move towards the patient’s hand, and it will be placed in it. Then the scene (camera) will change into the laptop, as shown in Figure 5.25 below. The camera will be focusing on the laptop’s screen to view the result of the skin measurement that has just been taken. All the mentioned measuring steps are conducted with the assistance of an audio feature.

Figure 5. 25 Click on the button (top right) to scan human skin

Figure 5. 26 Epsilon scanning in snapshot mode

After clicking on the scan button, scanning will begin in a snapshot mode, in Epsilon users can carry out scanning in three different modes (snapshot mode, burst mode and video mode).

Figure 5. 27 Epsilon scanning in a burst mode

Figure 5. 28 Epsilon scanning in a video mode

All files, images and videos of the three different scanning modes are saved in their respective folders, snapshot, burst and video folders. Users can go to their folders and view, replay or send the captured files. This Epsilon VUM system is assisted with an audio feature throughout the whole project and in every step of it. Adding this audio feature is going to clarify any uncertain step that the users might encounter at any stage during the demonstration process. Additionally, it is going to enhance how Epsilon VUM system works. Adding an audio feature is an original contribution to knowledge in this project, especially when it is utilised with other viewing techniques like the 3D animation and the 360-degrees VR video of the Epsilon research instrument.

The second button in the far left bottom corner of the main page of Epsilon VUM system (Epsilon operating in 360-Degree VR) is the link that will activate the 360-degree VR video. By clicking on that button, the 360-degree panoramic video will start playing for a scene of the Epsilon device conducting skin measurement to a patient in the clinic. Figures 5.29, 5.30, 5.31, 5.32, and 5.33 show all different angles for the 360-degree VR video while Epsilon is in operation.

Figure 5. 29 Epsilon 360-degree VR video in action

Figure 5. 30 The Epsilon 360-degree VR video in action from a different angle

Figure 5. 31 The Epsilon 360-degree VR video in action from a different angle. In the background, Epsilon sits back into its base while scan results show on the laptop monitor

Figure 5. 32 The Epsilon 360-degree VR video in action from a different angle

Figure 5. 33 The Epsilon 360-degree VR video in action from a different angle

All previous figures 5.29 - 5.33, displayed the Epsilon research instrument conducting a life-like skin measurement process by placing the Epsilon probe on the patient’s skin. While this process is occurring, the user can rotate all around the clinic in 360 degrees to view it fully as he/she is sitting in the clinic in real life. That is the special feature of using 360-degree VR videos.

Figure 5. 34 Epsilon components in the sturdy case in 3D

As in the AquaFlux VUM system, similarly, the second navigational button (link) in Epsilon’s main page will take the user to the Epsilon’s VUM (Virtual User Manual) as seen in the Figure 5.34. Every part or component of the Epsilon’s protective case is going to pop up once the user places the mouse on it (hovering) and it will start to rotate in 360 degrees.

Figure 5. 35 Epsilon VUM drop-down menu

In a similar manner to the AquaFlux VUM system previously, Epsilon’s VUM contains interactive links to describe and demonstrate USB connection, Epsilon instrument, Epsilon parking stand, Epsilon in-vitro stand, in-vitro accessories and consumables.

Figure 5. 36 Epsilon probe sliding into the stand

Figure 5. 37 Epsilon in-vitro stand set up process

After placing the mouse on each item in the Epsilon VUM drop-down menu, it displays an animated 3D video of the process of assembling that specific part. Moreover, an illustrative text will be shown at the bottom footer of the page while the audio feature is playing in the background for further illustration and clarity.

Figure 5. 38 Epsilon in-vitro accessories demonstrated with the support of the audio feature

Figure 5.38 shows the Epsilon VUM section operational and displaying the illustrative text in the footer of the page. Accompanying with the assistance of the audio feature, the 3D virtual environment, and the high level of user interaction the demonstration process is going to be very smooth, efficient and comprehensive for all users to discover and learn about the VUM system.

## 5.3 AquaFlux and Epsilon VUM usability study results and analysis

The VUM of AquaFlux and Epsilon was intended to serve inexperienced and new clients or users who are interested in purchasing AquaFlux and Epsilon research instruments and wanted to have a clear and very detailed illustrative idea on how these two devices work, function, and what are their features. From a marketing point of view, it was vital to conduct a usability study that will show the products’ advantages, disadvantages, and point out any areas of excellence and parts that require further improvements. The usability study was conducted by a variety of users, mainly people from a non-IT background. A questionnaire was designed to tackle the most obvious and fundamental questions that could arise while using such a system, moving on to more technical questions.

Correa et al. (2017) stated that conducting a usability study to find out the effectiveness of an interactive virtual environment and how it performs is one of the most important aspects of successfully promoting a virtual product. Additionally, a usability study of this sort of projects is going to demonstrate how users are satisfied in interacting with the virtual world. The following table shows the user’s feedback on the survey questions that involved 12 independent participants:

Figure 5. 39 Survey’s questions with users’ feedback. 12 users participated in the survey

The following illustrative charts show the results and analysis of the individual survey questions.

Figure 5. 40 Shows the success rate of the VUM system being smooth and error-free

The above chart shows that 83% of the participants found that the service provided online was smooth and error-free, whereas 17% were neutral. The result indicates the strength of the virtual system.

Figure 5. 41 Shows that the user experience of using VUM was enjoyable

Figure 5.41 shows that 58% of the participants enjoyed their Virtual User Manual experience, 42% were neutral, and 0% disagreed. The result suggests that the system provides an enjoyable experience.

Figure 5. 42 Shows the success rate of using the VUM

The above chart shows 64% of the participants were successful in using the Virtual User Manual system (AquaFlux and Epsilon web pages), while 36% were impartial and none disagreed. The chart illustrates that the VUM system is a success.

Figure 5. 43 Shows a high rate of users controlling the VUM

The chart demonstrates that 59% of the participants were able to control the Virtual User Manual system, whereas 33% were neutral and 8% disagreed. The result shows that although a high percentage was able to control it, a minority found it difficult. The result suggests more improvement is required to achieve a higher control success rate.

Figure 5. 44 Shows the success rate of applying the audio feature into VUM

Figure 5.44 shows that 92% of the participants found that using the support of the audio feature is clear and useful, whereas only 8% disagreed. It is strong evidence to support the excellence of the audio feature.

Figure 5. 45 Shows some users agreed that VUM system is comprehensive

The final chart shows that 36% of the participants thought that the Virtual User Manual system is sufficient and comprehensive, whereas 46% were neutral and 18% disagreed. Although there was a high percentage of neutral responses, a higher percentage agreed rather than disagreed. However, this suggests that there is room for further improvement, perhaps by introducing further features at a later stage or in future work.

From the above results about all the survey’s questions, there are three main issues to discuss:

- Aspects of excellence: presented by

- The service is smooth and free of errors.

- Users successfully used the Virtual User Manual system of AquaFlux and Epsilon.

- The audio feature provided was clear and useful for illustrating the system further.

- Aspects of improvements: presented by

- The Virtual User Manual is a sufficient tool to teach users how to use these devices comprehensively.

## 5.4 Comparability study of the actual devices vs AquaFlux and Epsilon VUM systems

A comparability study is designed to illustrate differences and similarities, advantages and disadvantages between two products. The design of the questionnaire was made by the author’s own personal experience and no referencing were needed. As described by Weidner et al. (2017) results collected from comparability studies between real products and simulators, especially virtual environments are essential for determining the virtual product, or the simulator is efficient, beneficial, satisfactory, and popular.

Comparability between the Actual AquaFlux and Epsilon research instruments and the AquaFlux and Epsilon VUM system are vital to the success of this project. Moreover, it is essential to the enhancement of the devices to operate efficiently and to improve marketing globally. Therefore, the plan is to compare the two tools collectively (the virtual system and the real tools) and then observe their effectiveness, areas of excellence and any aspects of improvements. The study carried out is to investigate the comparison between the real devices and the VUM system in the following domains:

- Functionality: AquaFlux and Epsilon actual devices require going through certain steps of configuration and calibration for the tools before conducting any skin measurements. Whereas, AquaFlux and Epsilon virtual tools are ready to operate via a click of a mouse. Users only need to know the correct URL address to access and conduct a scan or measurement procedure. In terms of measurements reading collected after the scan, using the actual device, users can observe several results for different human body parts instantly. In AquaFlux and Epsilon VR system results are collected for two pre-measured (pre-scanned) human skin areas. Actual devices can conduct real measurements, while in the VUM system of AquaFlux and Epsilon devices can only simulate measurements.

- Accessibility: actual devices are only available to access by visiting the Biox lab at London South Bank University. Users or clients who are interested and willing to test the actual tools they need to be available in the lab physically. AquFlux and Epsilon VUM system can be accessed anywhere, at any time as it only requires an Internet connection and a PC or a laptop. It is accessed remotely (globally).

- Multiple access: several trainees, user, and clients can visit the VUM system website and gain knowledge on how to use the AquaFlux and Epsilon devices at the same time.

- Usability: actual AquaFlux and Epsilon devices require a technician to show and illustrate their functions and features. Furthermore, the availability of a supervisor or specialist is essential to go through the first steps of configuration and calibration required beforehand which are not possible to achieve without an experienced user who is aware of all the technicalities. The AquaFlux and Epsilon VUM systems are completely usable. The system is built to demonstrate the research tools features, functionalities, and how they operate in an extremely realistic 3D animated environment. Operational procedures of AquaFlux and Epsilon are shown in two modes, 3D animated environment and 360-degree VR video experience. Besides, the illustration of the VUM system that displays all parts and components of these tools in 3D interactive audio assisted environment and illustrative text that guides new users step-by-step.

- Cost: training for AquaFlux and Epsilon on site is very costly as it requires time and expertise. AquaFlux and Epsilon VUM system it does not cost anything apart from a PC that a client must own and an Internet connection.

- Damage resistance: during the demonstration process of the actual AquaFlux and Epsilon, real devices can get damaged by pressing the wrong button or placing the sensory head on the inappropriate surface. In the virtual system of AquaFlux and Epsilon, users can test the devices as many times as they want even they make mistakes or go through some errors. Virtual world main benefit is not real-world, and therefore, damage can be almost non-existed.

From the points mentioned above, it is concluded that the areas of excellence are:

- Accessibility

- Multiple access

- Usability

- Cost

- Damage resistance

And the aspects of improvement:

- Functionality: the only point that requires an upgrade in the future and it is part of future work for this project, is to include all measurement readings and scans collected for all human body parts as it occurred in the actual AquaFlux and Epsilon devices.

## 5.5 Summary

In summary, VUM (virtual user manual) or the interactive virtual environment of both AquaFlux and Epsilon showed great ease of use, efficiency and practicality. With this virtual environment demonstration at hand and its availability online, clients, trainees, and users who are interested in purchasing one of those skin measurement instruments or wanting to see how they work and obtaining accurate results it will help immensely in conveying the main and complete (technical details, practical steps, configurations etc.) of these two research devices. The operational procedure of AquaFlux and Epsilon instruments demonstrated in two modes, and specifically, the 360-Degree VR video mode is going to contribute massively to the marketing and training sides of these tools. Future ideas, improvement, and upgrades are well on the horizon. The results of the survey strongly suggest that the system is operating effectively, although there is room for slight improvements. Concepts like Augmented Reality and 3D hologram can represent the future of upgrading the VUM system. The idea of expanding to the Android systems to allow the VUM system to operate on mobile phones is well considered too.

# Chapter 6 AquaFlux and Epsilon New Hardware and Futuristic Designs

This chapter presents the new innovative ideas about AquaFlux and Epsilon VUM system. New hardware has been added for both instruments to enhance the process of scanning and measuring human skin for cosmetic purposes. Furthermore, new concept designs of AquaFlux and Epsilon devices have been created to improving the operational procedure of these tools. This chapter begins with the modelling process of the new hardware designs and development for the research instruments (AquaFlux new holder and Epsilon new holder). Furthermore, it describes specifically the Epsilon new holder and futuristic design while conducting skin measurement. Also, it covers the AquaFlux new holder and futuristic concept in operation. Finally, it presents an original contribution to knowledge, which includes newly invented holders and the futuristic concepts of AquaFlux and Epsilon while explaining briefly how they can enhance their functionalities.

## 6.1 Modelling of the new hardware of AquaFlux and Epsilon VUM

AquaFlux and Epsilon are two state-of-the-art research skin measurement instruments. They are marketed and utilised in almost 200 organisations worldwide, mainly in the skincare and cosmetics sectors. Upgrading these two devices is one of the top priorities objectives of this ongoing research work. Additionally, improving the way these two devices operate is one of the important aspects of successfully promoting these instruments internationally. Upon the completion of this project, a new idea came to light, and it is going to have a huge impact by facilitating the operational procedure of AquaFlux and Epsilon, and that will contribute significantly to the outcome of this work. The plan was to design and develop a new accessory (holder) for both instruments to optimise their functionalities. This new addition is going to make the skin measurement process quicker, efficient, and it will allow conducting several measurements for multiple people (patients) at the same time.  The holders’ designs have already been approved by the BIOX lab at London South Bank University. The new holders for both instruments are wearable parts that can be wrapped around the patient’s arm or leg. The process of developing new wearable parts, as described by Rossi et al. (2017) for medical purposes, is vital in the current era where e-health and online medical treatment are on the rise. Furthermore, wearable parts or sensors are more convenient to deploy because of their affordability and reliability.

The new accessory for Epsilon (holder) was carefully planned and meticulously designed to accommodate the Epsilon’s structure and the patient’s comfort. The colouring and material added to the new accessory were a cloth, stretchy looking material, and that is due to making the newly designed holder looking to imitate the real-world object. Figure 6.1 below shows part of the early modelling stage of the new Epsilon holder using 3ds Max modelling software.

Figure 6. 1 Early modelling stage for the new holder of Epsilon in 3ds Max

In Figure 6.2 below, cloth looking material has been added to the new holder design in 3ds Max modelling software. Cloth material also has been added to the strap that will be used to hold the Epsilon probe after being fitted into the new holder. The process of adding materials in any 3D modelling project is incredibly significant. As described by Shih et al. (2016), adding materials to surfaces used, especially in designing simulation scenarios are vital to contributing to the final product authenticity. Especially when materials are applied with simulated lights for demonstrating components or equipment viewed indoors.

Figure 6. 2 Adding the cloth material to the new holder of Epsilon in 3ds Max

In Aquaflux, the process of developing and modelling the 3D model was more challanging to design the new hardware accessory. That is due to the size and shape of the AquaFlux probe as it is a metal probe that carries an amount of weight. After carefully studying the structure and thoughtful planning, the new design came to light, as seen in Figure 6.3 below. The new design was made specifically for the client’s comfort and user’s convenience.

Figure 6. 3 New AquaFlux hardware (holder) modelled in 3ds Max

AquaFlux probe new holder was made of metal and slightly heavier in comparison with Epsilon new holder design. Therefore, it was suggested that the black frame around the edge of the holder to be made of magnet material to provide the AquaFlux’s probe with more stability, firm insertion, stronger grip and subsequently it will result in an accurate reading. Additionally, the holder can be wrapped up around the patient’s arm, hand, leg or any other body part with a wide flexible strap that provides stability and comfort while using.

## 6.2 Epsilon new holder and futuristic design in operation

An initial diagram that shows the flow chart process of Epsilon VUM system is demonstrated in Figure 6.4 below.

Figure 6. 4 Flowchart of the Epsilon interactive VUM system

The diagram illustrates all steps that users can go through while navigating the Epsilon VUM system. The new addition to the new system is the step added under the Epsilon in action (Epsilon in 360-Degree VR video). As stated by Al Hashimi and Xiao (2018), Epsilon VUM system was initially designed at the early stage using a variety of software and modelling packages such as Google SketchUp, Blender, and Unity before finally settling on using 3ds Max for its professionalism. Early stages were involving designing the probe, base, and extras. The middle option (Epsilon VUM) was designed mainly using 3ds Max for all 3D objects and scene. Additionally, Adobe Flash CS6 was used to add all links and interactive buttons to the VUM option.

The third and final button on the Epsilon VUM system main page will take the user into the new addition that evolved during the process of working on this project, adding new hardware parts (holders) to each instrument (AquaFlux and Epsilon) will certainly enhance the measurement process and will provide a more efficient and accurate reading.

Figure 6. 5 Epsilon VUM 3rd link content, Epsilon’s new holder and futuristic design

By clicking on the Epsilon new holder button (left), users are going to visit the Epsilon’s holder page as it is shown in Figure 6.6 below that shows how the Epsilon’s strap can be wrapped firmly around patient’s arm or any other suitable part while conducting a skin scan.

Figure 6. 6 Epsilon’s holder in operation

The second button (right) in Figure 6.5 is for Epsilon’s futuristic design. After clicking on the futuristic design button of Epsilon VUM system, users are directed to the Epsilon new concept design. Figure 6.7 below demonstrates the new concept and how it displays new features that have not existed in the original Epsilon probe, such as the Epsilon’s moving head, screen, and functional buttons.

Figure 6. 7 Moving head Epsilon, it turns up and down for more convenient measuring

The Epsilon moving head shown in Figure 6.7 helps to conduct skin measurements in vertical and horizontal positions as it is capable of moving forwards and backwards. New screen added to the original design (Epsilon probe) to provide ease of access and display the measuring results and images of human skin straight onto the device’s screen. Reading results directly from the Epsilon probe rather than viewing the readings on a laptop or a PC is extremely practical and convenient. In the case of using this new design concept, no laptop or a PC is needed during the measurement process. A notion of converting the Epsilon device to operate wirelessly is well on the horizon too. The figures 6.8, 6.9, 6.10, 6.11, and 6.12 show some of the rudimentary stages of the development and design process of the futuristic Epsilon research instrument.

Figure 6. 8 Modelling Epsilon futuristic probe and adding texture

Figure 6. 9 Adding the newly invented parts to the actual Epsilon device. Setting all pivotal points

Figure 6. 10 Placing all pivotal points while considering other moving parts

There is one important point to consider when adding new parts to the actual design. The newly developed added part is a moving part that will rotate upwards and downwards. Therefore, adding a pivotal point to that new part, it has to be incoherent to the exited parts of the Epsilon probe. As a result, when the new part moves, it should move in the intended direction and not floating away from the original body of the probe.

Figure 6. 11 Rendering setup menu for the futuristic Epsilon device

Figure 6. 12 Adding materials while the camera has been set up to zoom into the human skin

Figure 6. 13 Epsilon’s moving head. Epsilon’s new probe has a display screen and functional buttons

Functional buttons have also been added to Epsilon probe futuristic design to provide on probe operations. Operating directly from the Epsilon’s probe rather than using a connected PC or a laptop is going to enhance the utilisation of this device, and it is going to classify Epsilon to be independent of being connected to any other device and fully portable. Buttons will provide basic functions such as On/Off, Scan, Reset. Those newly developed design concepts are going to play a major role in improving how these two devices (AquaFlux and Epsilon) will operate in the future. As cited by Jerald (2018), VR creators should not be their focal point directed mainly on developing and improving the quality of the VR scene and the 3D objects deployed within. Rather, adding other features or elements like new upgraded designs or even an audio feature will progress and immerse clients further into the VR experience. In addition, the development process of VR, AR (Augmented Reality), and UAV (Unmanned Aired Vehicle) in regards to the world of IoT (The Internet of Things) are crucial. As stated by Huang et al. (2018), the continuous innovations in the previously mentioned technologies are going to contribute to the huge benefit of developing smart cities, medical sector and intelligent transportation.  Day et al. (2017) mentioned that the recent deployment of VR on a wider scale had made the upgrading and optimisation of this technology consequently viable. Furthermore, the essential required devices that are needed to facilitate VR technology have become more affordable, like HMD units.

## 6.3 AquaFlux new holder and futuristic design in operation

An initial diagram that shows the flow chart process of AquaFlux VUM system is demonstrated in Figure 6.14 below.

Figure 6. 14 Flowchart of the AquaFlux interactive VUM system

The diagram shows all steps and navigational links that users need to go through to explore all sections of the VUM system. The last navigational button on the AqauFlux VUM system main’s page contains three links, AquaFlux new holder, AquaFlux futuristic design, and AquaFlux futuristic design 2. Figure 6.15 below shows the content of the 3rd link of the AquaFlux VUM system and all three buttons.

Figure 6. 15 AquaFlux’s third navigational button content. Three buttons are there (AquaFlux holder, Futuristic design, and Futuristic design 2)

The two red arrows are part of the initial design and development stage. By clicking on the arrows, it will rotate/span around the AquaFlux model (sitting on the table) in the background from the left side and then from the right side respectively.

By clicking on the AquaFlux holder button, Users will be directed to the device’s newly created holder. Figure 6.16 below shows the new holder.

Figure 6. 16 AquaFlux holder in operation. AquaFlux probe inserted into the new holder

The wide blue strap of AquaFlux holder has been specifically designed wide into a certain degree. As this wide strap and the black magnetic frame at the tip of the holder are going to assist immensely in stabilising the AquaFlux probe and deliver a firm insertion of the device to collect an accurate reading.

The remaining two buttons (AquaFlux Futuristic design and Futuristic design 2) are representing the new design ideas that were evolved throughout the practical process of this segment of the project. The main motive from coming up with such design concepts is mainly to improve and enhance the process of conducting a human skin measurement process and make it more efficient and accurate. Furthermore, those concept designs are going to enable AquaFlux instrument to serve a wider range of patients within a short amount of time. Figures 6.25, 6.26 demonstrate the two futuristic design of AquaFlux VUM system. Futuristic designs as stated by Tanaya et al. (2017) the point from inventing a concept or futuristic model is to bring to the surface all the hidden challenges that were existed in the previous design or model. Furthermore, to shed some insights into the hidden potential of the original device, model, equipment or even technology like AR and VR and how to enhance it further. Figures 6.17, 6.18, 6.19, 6.20, 6.21, 6.22, 6.23, 6.24, 6.25, 6.26, 6.27, 6.28, 6.29, 6.30, 6.31 and 6.32 show some of the rudimentary stages of the development and design process of the futuristic AquaFlux research instrument.

Figure 6. 17 Modelling the head part of the new futuristic AquaFlux probe

Figure 6. 18 Smoothing and detailing of the body part of AquaFlux probe

Figure 6. 19 Process of the wireframe mode of the body of AquaFlux to spot any overlapping objects

The process of wireframe mode, as shown in figure 6.19 above, is vital to discover any overlapping objects. It is essential to spot those objects that can lie on top of each other in order to prevent incoherent motion when the scene is played.

Figure 6. 20 combining all moving parts of the futuristic AquaFlux probe

Adding pivotal points to all moving parts and joints of the object is of great importance. Pivotal points are extremely important to consider when adding new parts to the original design. The newly developed added part is a moving part that will rotate upwards, downwards, and sideways. Therefore, adding a pivotal point to that new part, it has to be incoherent to the exited parts of the AquaFlux probe. As a result, when the new part moves, it should move in the intended direction and not floating away from the original body of the probe.

Figure 6. 21 Adding keyframe and checking pivot points at the right places to rotate for the AquaFlux futuristic probe

Figure 6. 22 Setting up cameras and lights for the 3D scene

Figure 6. 23 Setting the environment effects

Figure 6. 24 Setting the rendering options

Figure 6. 25  AquaFlux futuristic designs with rotatable heads. The final product

The upgraded design of AquaFlux enables the instrument to move in almost all directions (upwards, downwards, and sideways) by rotating the top part of the probe in a circular motion. That feature is going to give more flexibility and offer ease of use of the instrument for both clients and patients and provide more convenient measuring process.

Figure 6. 26 AquaFlux bands, which can be wrapped around the patient’s wrist, forearm and upper forearm, connection to PC can be made via USB or Bluetooth (Wirelessly)

Figure 6. 27 The modelling of the AquaFlux band futuristic design

The second futuristic design is the AquaFlux band, as shown in Figure 6.26. This concept design is completely new and not related in any way, shape or form to the original AquaFlux tool. It is very lightweight, and it provides more comfort while operating as it has padding that can be wrapped up around different parts of the patient’s body.  Moreover, it can be connected to PCs or laptops via USB or wirelessly via Bluetooth and save the inconvenience of having cables running around the vicinity.

Figure 6. 28 The modelling of the AquaFlux band using the line object for soft and bendy surfaces

In Figure 6.28 above, shows the usage of the line object to model a surface that is smooth, bendy, and flexible as the AquaFlux band represents those features and not a solid object.

Figure 6. 29 Using the mesh box for animating bendy, soft objects deploying the FFD modifier

Free-Form-Deformation modifier, as stated by Autodesk (2016), it is a modelling feature that has an effect used to design objects with motions such as bicycles and moving tools. It is best used to animate rounded shapes such as tables, bags etc.

Figure 6. 30 Setting cameras for the AquaFlux band futuristic design

Figure 6. 31 Setting all environment components of the AquaFlux band futuristic design

Figure 6. 32 Setting all rendering options and camera angle of the AquaFlux band futuristic design

## 6.4 Summary

In summary, this chapter first introduces an overview of the modelling process of the newly added hardware to AquaFlux and Epsilon research tools. It describes briefly the AquaFlux and Epsilon new hardware practical approaches which include the creation and modelling of AquaFlux and Epsilon holders using 3ds Max. Additionally, it demonstrates the Epsilon new holder and futuristic design while in operation via displaying a few figures illustrating the measurement process deploying the new pieces. Moreover, the chapter covers the AquFlux new holder and futuristic design while it is in operation. Finally, the chapter ends with a dedicated section for the original contribution to knowledge. Several new hardware and futuristic designs have been added to the AquaFlux and Epsilon VUM system to empowering all its features and functionalities. Also, the concept designs deliver further accurate, convenient and flexible use for both instruments.

# Chapter 7 Conclusions and Future Work

This chapter summarises the main research problem and the challenges that face online training and tools demonstration technologies such as 3D and VR. Furthermore, it describes briefly the approaches considered to resolve those challenges in the research solution.  Also, it states some of the problems encountered during this research work. Finally, the chapter ends with future work and the importance of the findings of this research concerning other researchers and practitioners.

## 7.1 Summary

In chapter 1, a review of skin structure and skin hydration is presented. Also, a review of skin performing varied functions included. Moreover, there is a brief overview of Virtualisation and Virtual Reality and their relations to 3D content. Research background, research questions, conceptual framework, statement of the problem, research methodology, research planning, original contributions to knowledge, limitations of the study, and the organisation of the thesis are all thoroughly explained and illustrated. In chapter 2, a full and comprehensive literature review was carried out. Several researched papers and journals were investigated and deeply analysed. A full review of the latest trends in 3D and VR technologies was conducted. As well as reviewing software used in projects similar to the VUM system such as 3ds Max and Adobe Flash CS6 which used to design the model and add all needed links and interactivity between the system and the clients. Additionally, an in-depth review of VR and its relationship with e-learning and online training fields in the current era was presented. Furthermore, a review of some 3D enabling technologies such as Augmented Reality, VRML, X3D, OpenGL and 3D Hologram and the method of Holography in presenting 3D contents for further illustration and demonstration was also discussed. Finally, the main technical reasons and advantages of selecting 3ds Max and Adobe Flash CS6 for carrying out this research work of AquaFlux and Epsilon VUM systems. In chapter 3, an overview of the instruments that were used for skin measurements was also mentioned, the instruments, AquaFlux and Epsilon were explained thoroughly, their functionality, components, accessories and importance mentioned too. In chapter 4, the main methodology of the research is explained, objectively stated, and the way of designing the project is clarified (the technical approach), as well as listing all medical tools and programs involved. The program 3ds Max that is used to design the actual AquaFlux and Epsilon objects was explained and all its functions and its main features and how the work of modelling both objects is shown too. Adobe Flash CS6 was the program that made all buttons, links and interaction between the user and virtual web environment using its main feature programming language called ActionScript. Also, illustrated in the section called technical approach which shows all designing stages, as well as screenshots, are also provided for extra clarification of how the steps are made and conducted. The concept of VR and the different approaches of how VR can be created are also explored. In addition, the important method of creating a 360-Degree VR experience in which AquaFlux and Epsilon VUM systems have been upgraded to is also stated with a thorough technical explanation and screenshots.  Moreover, all major obstacles and difficulties that have been encountered are mentioned too and how they have been rectified. In chapter 5, results and analysis of the AquaFlux and Epsilon VUM system is thoroughly investigated and explained. The chapter begins with the AquaFlux interactive VUM system. It describes all the functions and features of the virtual environment. Subsequently, the Epsilon VUM system that includes similar features and functionalities representation that consists of 3D animated scenes, 360-Degree VR experience, and the interactive virtual environments of the research instruments (AquaFlux and Epsilon) user manual demonstrated with audio feature and illustrative text. Also, the chapter analyses the VUM system of both devices thorough via demonstrating a deep and comprehensive user evaluation study. This study tackles the essential part of the project. The usability study was conducted to show the products’ advantages, disadvantages, and point out any areas of excellence and parts that require further improvements. The usability study was carried out by a variety of users, mainly people from a non-IT background. A questionnaire was designed to tackle the most obvious and fundamental questions that could arise while using such a system, moving on to more technical questions. Each survey question has a descriptive chart that shows the percentages of the positive and negative answers and brief analysis for all participants. Furthermore, a comparability study was also carried out to further bolster the advantage and necessity of the AquaFlux and Epsilon VUM system through comparing all features, functionalities, characteristics, and all other essential elements that would determine the success of this project. Moreover, this study is going to display the absolute efficiency of using the interactive virtual representation of AquaFlux and Epsilon over the use of the actual medical devices in a real lab. Chapter 6 introduces the new hardware design, development, modelling, and implementation of AquaFlux and Epsilon new holders. It describes how the deployment of these new holders is going to enhance and improve the operational procedure of these research tools. Additionally, the chapter illustrates the introduction of the futuristic, new and upgraded concepts for the skin measurement instruments (AquaFlux and Epsilon), their benefit, new styles. Furthermore, how these new futuristic designs are going to greatly embellish the entire VUM system of AquaFlux and Epsilon is also discussed. Futuristic concepts could easily augment the whole process of conducting a skin measurement process and making it more convenient and flexible through their advanced, modern and practical designs while still providing accurate results.

### 7.1.1 The need of research

This research undertakes the issue of demonstrating research instruments online for commercial and training purposes. Products and devices are being illustrated on the World Wide Web through a variety of technologies such as 3D modelling, Virtual reality (VR), Hologram, WebGL, and Augmented Reality (AR). However, it is highly uncommon to find those technologies being utilised to the level of demonstrating a specific device by combining more than an approach to achieve the task, especially in the medical sector. Therefore, this project of AquaFlux and Epsilon Virtual User Manual (VUM) system main problem is how to design and build an entire virtual world to illustrate and teach clients, users, and trainees on how to use these two devices (AquaFlux and Epsilon) and operate them in a fully interactive virtual environment. AquaFlux and Epsilon are two research instruments that are designed and built by London South Bank University and used for human skin treatments. They are used to measure human skin wetness for cosmetic purposes. The main difficulty with these devices and the reason why this VUM system has been built is to introduce these tools to all clients, trainees, and users (who are interested in purchasing and using) to testing, exploring, and operating these instruments internationally. Additionally, testing or demonstrating to users on how these devices operate and functions what are their features in a real, physical, face to face session is very costly and time-consuming. Moreover, there are plenty of clients who are interested in viewing these two instruments and discovering all their features and functionalities before purchasing them from abroad (Internationally) and wanting to see and observe how AquaFlux and Epsilon operate for marketing purposes.

### 7.1.2 The challenge of research

There are few expected difficulties or challenges we have encountered during this research work such as:

- The selections and the use of multiple 3D programs to design the research instruments and all objects involved compatibility issues.

- The mixed technologies to be used with 3D software such as VR, 3D animation, and 360-degree VR video.

- The VUM system should be fully interactive with users; in other words, the selection and use of another application to add interactivity such as Adobe Flash CS6 or CS8.

- Additionally, the continuous upgrade and advancement of these 3D technologies periodically, and that is due to the immense interest that people are having towards any virtual environment concepts which results in a huge competition.

The degree and the level of reality (realism) in presenting all features and functionalities of these devices to the viewers.

### 7.1.3 The research solution

The main solution recommended to the research problem of these devices is to build, create, and develop an entire interactive 3D virtual environment for illustration, training, and demonstration purposes. The AquaFlux and Epsilon VUM systems are going to explore how to assist new clients or trainees in discovering all features and settings of these tools before purchasing them. Also, it is going to establish an extremely profound indication as to how these devices are being used and operated in real life. Additionally, it is going to support all existing users to stay informed and up to date with any new software updates, new holders, and accessories developed and upgraded frequently. Furthermore, the newly developed VUM system is going to display all the features and functionalities of the two instruments (as any ordinary product user manual would do) in a fully interactive virtual environment with the support of audio and illustrative text using the Internet as a delivery mechanism. The AquaFlux and Epsilon VUM system will also be available on the WWW for easy access to clients or users from a remote location nationally and internationally.

### 7.1.4 The research methodology

The research work of building a virtual environment system for AquaFlux and Epsilon research instruments VUM has gone through several phases. Stage one was mainly to diagnose the main research problem and to identify what the requirements are of the existing system available at hand. The existing system was basically introducing the AquaFlux and Epsilon devices to new clients and users physically. Subsequently, the process of demonstrating how these tools operate and what are their main features and functionalities. Furthermore, this process was very prolonged and cannot cover the whole number of interested clients who are available internationally in different parts of the world. As a result of that, the current research work of AquaFlux and Epsilon VUM system has emerged and is going to answer those requirements. Also, we added other features to the system, such as a designated section on the VUM website that updates users. Moreover, it informs them about any latest new concept designs such as accessories and holders for the probes of AquaFlux and Epsilon.  Regarding stage two, this stage was specifically focused on searching and finding the most suitable software and programs to begin the creation, design, and building processes. At the early stages of this project, Google SketchUp, Blender, and Unity programs were used briefly to build the 3D objects of the project’s scenes. However, due to lack of resources amongst the mentioned programs, it was difficult to continue using them, and a technical decision has been made to move into more sophisticated software to use for the rest of the project. Therefore, 3D Max Studio was selected for its professionalism, features, functions, and for the huge amount of available resources that cover a wide variety of topics related to our work. 3ds Max is available for free to download and to be used for educational purposes.  The other program that has been selected to add interactivity to the work was Adobe Flash CS6. It is a straightforward program, functionalities are covering the objectives of the project, and it was easy to use. Thus, it has been selected to be responsible for designing the interactivity between the clients and the VUM system online. Currently, the programs are available at hand then stage three has commenced.  During this stage, the technical approach adopted was to design all 3D objects of these tools first, such as AquaFlux probe, Epsilon probe, AquaFlux base, Epsilon base, protective cases etc. Resultantly, most of the time, the work was focused on the 3ds Max software for building those 3D objects and the clinics’ scenes. This stage consumed an extremely large amount of time on literature research and reading other authors’ works to find a specific function or a special way of completing a certain design process. To ensure that our 3D models resembled real life-like objects of AquaFlux and Epsilon, a ruler was used to compare and measure between the original device and the created object in 3ds Max program. Additionally, placing a real image of the instrument next to the modelled object and let the 3ds Max software calculates its size (modelled object) in comparison to the real device. The process of creating a 3D object in this research is divided into three stages:

- 3D modelling: the process of building a computer model in 3 dimensions.

- Layout and animation: the process of adding animation and creating a scene to the object.

- Rendering: the process of adding other effects to our scenes, such as lights, surface type, positioning the camera and other qualities.

After completing all the steps that are related to creating a 3D object or scene, it is now time to move into the second software used in building the AquaFlux and Epsilon VUM system, and that is Adobe Flash CS6. Adobe Flash CS6 is a software that is used to add interaction between users and the VUM system online. All created 3D scenes and objects in the AquaFlux and Epsilon VUM system have been exported from 3ds Max program to Adobe Flash CS6 to add interactivity into them. Adding interactivity is achieved by using a special feature in Adobe Flash CS6 called ActionScript. Once interactivity and the sound feature have been added successfully to each object and every single scene, it will be time to export all projects’ files into a version that is compatible to be used on the WWW as this VUM system is intended to be used online. That appropriate version of files is SWF, and it works perfectly well with HTML files (Browsers’ format). Additionally, during this stage, a new idea came to light that might improve and enhance the way these two devices work. New hardware and concepts were added to the AquaFlux and Epsilon VUM system. A new section was added to the existing website for all new holders, accessories, and futuristic designs. Stage four is to find a suitable host that we can use to upload our main files that are needed to run the VUM system and to make the virtual system of AquaFlux and Epsilon remotely accessible and globally available to all users, clients, and trainees.

## 7.2 Future Work

The completed work of designing an interactive virtual environment for AquaFlux and Epsilon could be easily upgraded and added to it many of today’s latest trends in the world of Virtual Reality technology. Although as described previously that the objective of the thesis has been achieved, several technologies adaptation and experiments have been left for future work to accomplish better measuring procedure and results. As stated by Onime et al. (2016), Mixed Reality (MR) is changing how the data are being perceived for viewable objects that are demonstrated via using the Internet as a platform. For example, data that considered being omnipresent computing objects that can be viewed everywhere at once. In addition, VR and AR are achieving this type of presentation at a high level and a rapid pace. Therefore, AR, for instance, is a very competitive idea that this work could be upgraded to. AR can certainly assist in demonstrating any 3D models or devices more realistically, especially if it is combined with VR. AR can be merged with VR in a Mixed Reality (MR) ambience. MR utilised on a wide scale in the current era, as referenced by Joachimczak et al. (2018), helps greatly in keeping Internet users interacting with 3D objects remotely. Moreover, the AquaFlux and Epsilon VUM systems have the potential to add some novel, advanced, and interactive notions to it such as the replacement of audio feature with 3D avatar performing the role of virtual guide to the web page users. Arcao et al. (2019) stated that the deployment of a 3D avatar in demonstration websites or application could attain the maximum degree of interactivity between any 3D virtual system and users.  In addition, 3D hologram and holography technologies can be utilised to develop the VUM system further, as these two methods have the capabilities to project and illustrate any designed 3D object as being existed in our real world. Users, trainees and clients can discover all characteristics and functionalities of any 3D content in an exciting, immersive experience. Another notion is to build and develop a similar version of the interactive (VUM) of AquaFlux and Epsilon that is compatible to operate on the Android platform and make the virtual interactive environment accessible via Android mobile phones.

# References

AndersonR. L., CassidyJ. M., HansenJ. R.and YellinW., “Hydration of Stratum Corneum”. Biopolymers, 12, 2789-2802, 1973.

Al Hashimi, O. and Xiao, P. (2018). Developing a web-based interactive 3D virtual environment for novel skin measurement instruments. 2018 Advances in Science and Engineering Technology International Conferences (ASET), Abu Dhabi, 2018, pp. 1-8.  DOI: 10.1109/ICASET.2018.8376823.

Al Hashimi, O. and Xiao, P. "Epsilon Interactive Virtual User Manual (VUM)," 2018 International Conference on Computing, Electronics & Communications Engineering (iCCECE), Southend, United Kingdom, 2018, pp. 138-143. DOI: 10.1109/iCCECOME.2018.8658872.

Al Hashimi, O. And Xiao, P. (2018). Epsilon Interactive Virtual User manual (VUM). , pp. 138-143.

Azuma, R. Y, Baillot. R, Behringer. S, Feiner. S, Julier. B, Maclntyre. (2011). Recent Advances in Augmented Reality. (Nov), pp.1–15.

Arcao, J. Cadag, V. Martinez, V. Roxas, E. Serano, K. Tolentino, R. (2019). Holographic Projection of 3D Realistic Avatar That Mimics Human Body Motion. , pp. 1-6.

Abdul-Kader, H., 2011. e-Learning Systems in Virtual Environments. , 8(1), pp.23–29.

Alawadhi, S. Alhabib, N. Murad, D. Aldeei, F. Alhouti, M. Beyrouthy, T. Alkork, S. (2017). Virtual Reality Application for Interactive and Informative Learning., pp. 1-4.

Adobe. (2013). ADOBE ® FLASH ® PROFESSIONAL Help and tutorials., p. 8,41,108.

Autodesk. (2016). Autodesk knowledge network: 3ds Max FFD (free-Form-Deformation) Modifier. Available at: https://knowledge.autodesk.com/support/3ds-max/learn-explore/caas/CloudHelp/cloudhelp/2016/ENU/3DSMax/files/GUID-1129177A-6B3D-47EB-8636-B6D38BE816F8-htm.html

Bhadra, A. J, Brown. H, Ke. C, Liu. E, Shin. X, Wang. A, Kobsa. (2016). ABC3D - Using An Augmented Reality Mobile Game to Enhance Literacy in Early Childhood. , pp.1–3.

Burns, E. Easter, D. Chadwick, R. Smith, D. Rosengrant, C. (2014). The Virtual World Framework: Collaborative Virtual Environments on the Web. , pp.165-16.

Biox, S. (2014). Epsilon Installation User Manual, Contact Imaging System., (November), pp.1–24.

Barkhaya, M. Abd Halim, N. (2016). A REVIEW OF APPLICATION OF 3D HOLOGRAM IN EDUCATION : A META-. , pp.257–260.

Bialkova, S. Ettema, D. Dijst, M. (2017). Urban Future: Unlocking Cycling with VR Applications., pp. 1-5.

Boy, J. Evillard, L. Detienne, F. Fekete, J. (2016). Suggested Interactivity: Seeking Perceived Affordances for Information Visualization. , pp. 639-648.

Bernstein, G. and C, Wojtan., (2013) Putting Holes in Holey Geometry : Topology Change for Arbitrary Surfaces.

Biox Science of Precesion. (2017). AquaFlux and Epsilon official brochure website. Available at: http://www.bioxsystem.com/products

Correa, A. E, Borba. R, Lopes. M, Zuffo. A, Arouajo. (2017). User Experience Evaluation with Archaeometry Interactive Tools in Virtual Reality Environment. , pp. 217-218.

Cellary, W. & Walczak, K., 2012. Interactive 3D Multimedia Content. Interactive 3D Multimedia Content, pp.13–35. Available at: http://www.springerlink.com/index/10.1007/978-1-4471-2497-9.

Callaghan, V., Davies, M. & Zhang, S. (2016). An Online Immersive Reality Innovation-Lab. , (July), pp.1–13.

Caccamo, S. And Ataer-Cansizoglu, E. (2017). Joint 3D Reconstruction of Static Scene and Moving Objects. , pp. 677-685.

Cgtrader. (2016). Cgtrader free 3D models online: Laser printer HP, free 3D model. Available at: www.cgtrader.com/free-3d-models/interior/office/laser-printer-hp

Chen, Y. And Sun, P. (2017). The Research and Practice of Medical Image Enhancement and 3D Reconstruction System. , pp. 350-353.

Duan, Z. (2019). The Practice and Exploration of Virtual Roaming Based on 3ds Max., pp. 432-438.

Day, T. Dobson, W. Headleand, C. John, N. Pop, S. (2017). Using Virtual Reality to Experience Different Powered Wheelchair Configurations., pp. 158-161.

Dai, P. & Ren, E. (2011). A Virtual Hospital System Construction Based on VRML. , pp.1-6.

DeYoung, J. Berry, J. Riggs, S. Wesson, J. Wertz, L. (2018). Evaluating Embodied Navigation in Virtual Reality Environments. , pp. 338-343.

Dunamu, F. Mao, Y. Liu, S. Srinivasan, S. Wang, Y. (2018). A Subjective Study of Viewer Navigation Behaviours When Watching 360-Degree Videos on Computers. , pp. 1-6.

Esmaeili, H. Thwaites, H. Woods, P. (2017). Immersive Virtual Environments for Tacit Knowledge Transfer Focusing on Gestures. , pp. 1-6.

Feng, C. Chheng, Z. Haung, L. (2019). An Investigation into Patient Privacy Disclosure in Online Medical Platforms. , pp. 29085-29095.

Feng, S. Jiang, Y. Huang, H. Chen, L. (2018). Research on Vehicle 3D Panoramic Model and Texture Mapping Algorithm Based on Low Distortion and Uniform Field of View. , pp. 450-455.

Fribourg, R. Argelauget, F. Hoyet, L. Lacuyer, A. (2018). Studying the Sense of Embodiment in VR shared Experiences. , pp. 273-280.

Ghanbarzadeh, R., Ghapanchi, A.H. & Blumenstein, M. (2014). Application areas of multi-user virtual environments in the healthcare context. Studies in Health Technology and Informatics, 204, pp.38–46.

Han, J. Yun, J. Jang, J. Park, K. (2010). 1843. User-Friendly Home Automation Based on 3D Virtual World. , pp.1843–1847.

Hong, C. & Haijuan, Z., (2010) Design of Virtual Walkthrough System based on Virtools. , pp.1–3.

Haung, J. Chang, Z. Wang, C. Qian, Y. Gharavi, H. Li, Z. (2018). Enabling Technologies for Smart Internet of Things., pp. 12-13.

Hu, W. Lei, Z. Zhou, H. Liu, G. Deng, Q. Zhou, D. Liu, Z. (2017). Plug-in free Web-based 3D Interactive Laboratory for Control Engineering Education. , pp.3808-3818.

Hashim, M. (2016). User Interactivity in eHealth Applications. , pp. 42-45.

He, T. Chen, X. Chen, Z. Li, Y. Liu, S. Hou, J. He, Y. (2017). Immersive and Collaborative Taichi Motion Learning in Various VR Environments. , pp. 307-308.

Hu, X., Wang, X. & He, L., 2011. The Construction and Development of Remote Virtual Laboratory Based on Virtools. , pp.1951–1954.

Harper, J.M., (2013). Mastering Autodesk 3ds Max, pp. 16,67,633.

Imhof, B. Xiao, P. Fischer, I ., TEWL (2013) - closed chamber methods - AquaFlux and VapoMeter. , (i), pp.1–7.

Junqueria L.C., Carneiro J., (1977). Basic Histology. Prentice Hall.

Joachimczak, M. Liu, J. Ando, H. (2018). Downsizing: The Effect of Mixed Reality Person Representations on Stress and Presence in Telecommunications., pp. 140-143.

Jovišić, V. and Rizvić, S. (2008) Photorealistic reconstruction and multimedia presentation of the medieval al fortress in Travnic, 13, pp. 65–73.

Jian, D., Jian, W. & Ge, J.I.N., (2010). Research of 3D modelling of Virtual Reality for LAMOST based on OpenGL. , pp.296–298.

Jerald, J. (2018). Human-Centred VR Design: Five Essentials Every Engineer Need to Know., pp. 15-21.

Kuang, Y. And Bai, X. (2018). The Research of Virtual Reality Scene Modelling Based on Unity 3D. , pp. 611-613.

Kotsilieris, T. & Dimopoulou, N., 2013. “ The Evolution of e-Learning in the Context of 3D Virtual Worlds ” Department of Health & Welfare Units Administration, Technological Educational. , 11(2), pp.147–167.

Klein, L. (2012). Visualising Pharyngeal Arch Nerve Growth and Muscle Innervation During Human Embryological Development. , p.12,38.

Li, D. Wu, H. Luo, G. (2016). Simulation of 3D Dynamic Seas Based on OpenGL. , pp. 123-126.

Lee, Y. Lee, Y-H. Kim, S. Kim, C. (2014). Design and Development of Multimedia Cultural Contents for Virtual Reality. , pp.1–2.

Li, Z. And Cao, R. (2017). Used the Plug-ins of DreamScape and GroundCrew to Simulate Lake and Mountain in the 3Ds Max., pp. 1039-1042.

Lu, Z. Rehman, S. Chen, G. (2013). WebVRGIS: WebGIS based Interactive Online 3D Virtual Community. , pp.94–99.

Murray, M. (2011). Contextual interaction support in 3D worlds, virtual environments and future media, pp. 58-63.

Manekiya, M.H. & Arulmozhivarman, P., 2016. 3D Volume Reconstruction using Hologram. , pp.1570–1574.

Min, Q. Wang, Z. Wu, M. (2016). An Evaluation of Adobe Flash for Remote Access Medical Imaging Applications. , pp.645–650.

Murdan, S. Hinsu, D. Guimier, M. (2008). A few aspects of transonychial water loss (TOWL): inter-individual, and intra-individual inter-finger, inter-hand and inter-day variabilities, and the influence of nail plate hydration, filing and varnish., pp. 684-689.

Nguyen, Q. Devaux, A. Bredif, M. Paparoditis, N. (2015) 3D Heterogeneous interactive web mapping application, pp. 323-324.

Nugraha, T. Sen, RB. Wahyu B. Sulistyo, Rosalina. (2017). Assembly Instructions with Augmented Reality on Android Application (Assembly with AR), pp.32–37.

Onime, C. Uhomoibhi, J. Wang, H. (2016). Mixed Reality Cubicles and Cave Automatic Virtual Environment., pp. 1-8

Purba, K.  Liliana. Runtulalu, D. (2017). Development of Interactive Learning Media for Simulating Human Digestive System. , pp. 270-274.

Prins, M. Gunkel, S. Stokking, H. Niamut, O. (2018). TogetherVR: A Framework for Photorealistic Shared Media Experiences in 360-Degree VR. , pp. 39-44.

Ponto, K. Lisowski, D. Fan, S. (2016). Designing Extreme 3D User Interfaces for Augmented Live Performances. , pp.169–172.

Patel, J. and Sakadasariya, A. (2018). Survey on Virtual Reality in Social Networking., pp. 1341-1344.

Potkonjak, V. Gardner, M. Callaghan, V. Matilla, Guetl, P. C. Petrovic, V. Jovanovic, K. (2016). Virtual Laboratories for Education in Science, Technology, and Engineering : a Review. , 95(April), pp.309–327.

Palmer, C.L. Haugen, B. Tegnander, E. Eik-Nes, S. Torp, H. Kiss, G., (2015). Mobile 3D augmented-reality system for ultrasound applications. , pp.1–4.

Publishing Wiley, DERAKHSHANI, D., 2007. Introducing 3ds Max 9 ®, p. 20.

Pezeshki, Z. Soleimani, A. Darabi, A. (2017). 3ds MAX to FEM for building thermal distribution. , pp. 110-115.

Rossi, S. Simone, F. Frossard, P. Toni, L. (2019). Spherical Clustering of users navigating 360 Content. , pp. 4020-4024.

Rossi, S. Mancarella, C. Mocenni, C. Torre, L. (2017). Bioimpedence sensing in wearable systems: from Hardware Integration to model development., pp. 1-6.

RODRIGUES, Marcos and ROBINSON, Alan (2009). Developing Interaction 3D Models for E-Learning Applications. In: MELLO, M, CARVALHO NETO, C and

SPANHOL, F, (eds.) Hipermidias Interfaces Digitais em EAD. Sao Paulo, Brazil,

Laborciencia ltd, 155-176.

Research Excellence Framework (2014). Commercialisation of a novel close-chamber technology for water vapour flux density measurements in skin. London South Bank University., pp. 1-4.

Shih, H. Chou, Y. Hsia, S. Lee, B. Su, G. (2016). Assessment Improvement of Visual Comfort Using Computational Simulation – a case study in a Light-Controlled Classroom., pp. 279-282.

Salgueiro, P. Abreu, S. Rolo, J. Clain, S. (2015). An interactive web-based tool for Breast Reduction Surgery Simulation, pp. 181-182.

Seok, K. & Kim, Y. (2011). A Study on Implementation of Interactive Web3D Virtual Environment using O3D. , pp.1-4.

Spencer T. S., Linamen C. E., Akers W. A., et al., “Temperature dependence of water content of stratum corneum.” Br J Dermatol, 93159-164, 1975.

Shen, W. & Zeng, W. (2011). Research of VR Modelling Technology Based on VRML and 3DSMAX. , pp.487-490.

Shen, W. & Zeng, W., (2011). Research of VR Modeling Technology Based on VRML and 3ds Max. , pp.487–490.

Sammour, G. Al-Zoubi, A. Gladun, A. Khala, K. Schreurs, J.(2015). MOOCs in Universities : Intelligent Model for Delivering Online Learning Content. , pp.167–171.

Tao, G., Zhang, X. & Zhang, Q., 2010. Virtual Operation of Motor Based on the Virtual Reality Technology. , pp.1–4.

Tanaya, M. Yang, K. Christensen, T. Li, S. O’Keefe, M. Fridley, J. Sung, K. (2017). A Framework for Analysing AR/VR Collaborations an Initial Result., pp. 1-6.

Tomanová, J. & Cápay, M. (2010). E-learning Support for Computer Graphics Teaching and Testing 3 Computer Graphics E-learning Course. , pp.117–121.

The ARC. Introduction, A. (2012). 3ds Max interface, p. 7.

Takala, T. and Matveinen, M. (2014). Full-body Interaction in Virtual Reality with Affordable Hardware., pp. 157.

Viitanen, M. Vanne, J. Hamalainen, T. Kulmala, A. (2018). Low Latency Edge Rendering Scheme for Interactive 360 Degree Virtual Reality Gaming., pp. 1557-1560.

Vogel, D. Lobus, P. Steinicke, F. (2018). AnimationVR - Interactive Controller-Based Animating in Virtual Reality. , pp. 781-782.

VMware, Inc, V. (2006). Virtualisation Overview White Paper. Palo Alto CA: VMware. , pp.1–11.

Valdez, M. Ferreria, C. Barbosa, F. (2016) 3D Virtual laboratory for teaching circuit theory – a Virtual Learning Environment (VLE), pp. 1-4.

Violante, M.G. (2015). Politecnico di Torino Porto Institutional Repository Design and implementation of 3D Web-based interactive.

Vate-u-lan, P.(2011). Augmented Reality 3D Pop-up Children Book : Instructional Design for Hybrid Learning. , pp.95–100.

Weidner, F. Hoesch, A. Poesch, S. Broll, W. (2017). Comparing VR and Non-VR Driving Simulations: An Experimental User Study., pp. 281-282.

Wikipedia (2008). Anatomy of the Human’s Skin: Available at:

https://upload.wikimedia.org/wikipedia/commons/2/27/Skin.png

Warner, Myers and Taylor, “Water concentration profile across human skin”. The journal of investigative dermatology, 90,199-224, 1988.

Walczak, K., White, M. & Cellary, W. (2004). Building Virtual and Augmented     Reality Museum Exhibitions. , 1(212), pp.135–145.

Wagner, P.R. (2013). Using 3D Virtual Learning Environments in New Perspective of Education. , pp.1–5.

Xiao, P. (2014). Biox Epsilon Model E100: Contact Imaging System. Available at: www.biox.biz/Products/Epsilon/E100Options.php

Xiao, P. Singh, H. Ou, X.  Caparnagiu, A. Ciortea, L. Berg, E. Imhof, B. (2011). In-vivo Trans-Dermal Drug Delivery Study by Using Capacitive Fingerprint Sensors. , p.12.

Yang, H. (2011). The Virtual campus system based on VR-Platform. , (50865003), pp.916–919.

Yutong, H. Wenlong, F. Yinshaung, F. (2018). Research on Model Optimization Based on 3DS MAX Modelling. , pp. 726-729.

Yılmaz, Ö. & Tunçalp, K. (2011). In Mechatronics Education. 54(2), pp.294–301.

Yang, X. Zhao, Y. Wu, W. Wang, H. (2008). Virtual Reality-Based Robotics Learning System. , (September), pp.859–864.

Zhang, B. (2011). THE R & D FOR HYDRAULIC PRESS. pp.888–891.

Zhang, Xu. (2017). Instrument Development and Digital Signal Processing in Skin Measurements, School of Engineering London South Bank University.

Zeng, W. & Chen, J. (2018). Study on a 3D terrain section based on OpenGL. , pp. 780-783.

Ziwar, F. & Elias, R. (2014).VRML to WebGL Web-Based Converter Application. , pp.1-6.